## List of items
LIST OF ITEMS, 2021 prisons KZH
2018-08-02 |  |  | Orderable Amount (rounded UP to the nearest whole number) | Vendor's item amount | Unit cost (US$) | TOTAL cost (US$)
|  |  | (l) | (i) | (n) | (l) x (n) = (o)
ITEMS
1 | Sputum containers (pieces) | di-Sodium hydrogen phosphate anhydrous, Na2HPO4, 4,7 per 1000 ml (kg) | 1 | Bottle (1 kg) | 83.7 | 83.7 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
2 | Slides (pieces) | Potassium dihydrogen phosphate, KH2PO4, 4,54 per 1000 ml, (kg) | 1 | Bottle (1 kg) | 32.5 | 32.5 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
3 | Carbolfuchsin (mL) | tri-Sodium citrate dihydrate, C6H5Na3O7, 14,5 g per 1000 ml, (kg) | 1 | Bottle (1 kg) | 68.95 | 68.95 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
4 |  | Sodium hydroxide, NaOH, 20 g per 1000 ml, (kg) | 1 | Bottle (1 kg) | 31.1 | 31.1 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
5 |  | N-acetyl-L-cysteine (NALC), C5H9NO3S, 5 g per 1000 ml,(botle of 100 g) | 1 | Bottle (100g) | 105.29 | 105.29 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
6 | Methylene blue (mL) | PP-tubes for centrifuge, sterile, 50 ml (pieces) | 6 | Bag (500) | 75.35 | 452.1 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
7 |  | Single use plastic Pasteur-pipettes sterile individually packed, 3 ml,graduated (pieces) | 19 | Bag (500) | 42.12 | 800.28 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
8 | Sputum containers (pieces) | Ready-to-use LJ mix (g) | 1 | Bottle (0.5 kg) | 108.18 | 108.18 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
9 | Slides (pieces) | Glycerol >99% purity (ml) | 1 | Bottle (0,5 liter) | 15.61 | 15.61 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
10 | Destaining reagent (mL) | Fresh eggs fed without growth factors (antibiotics) (pieces) | 0 | 1 unit | 0 | 0 | --
11 | Carbolfuchsin (mL) | Medium 7H9, (g) | 1 | Bottle (0.5 kg) | 225 | 225 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
12 | Immersion oil (mL) | Disposable loops 10 µl (pieces) | 3 | Bag (500) | 24.59 | 73.77 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
13 | Burning spirit (mL) | Cryo-vial, sterile with cap, 2 ml (pieces) | 3 | Bag (1000) | 319.59 | 958.77 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
14 |  | Cryo-tags sized to fit for use on cryo-tubes, rolls of 1000 (pieces) | 3 | Bag (1000) | 33.99 | 101.97 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
15 |  | Deep freeze storage box with lid for 1.5 / 2 ml cryovials , autoclavable PP (pieces) | 1 | Box (96) | 2.59 | 2.59 | Equipment
16 | Sputum containers (pieces) | Procured LJ tubes (pieces) | 4582 | tubes (1 unit) | 1 | 4582 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
17 | Slides (pieces) | Rapid test for Detection of MPT 64 Antigen (test) | 18 | kit (25 tests) | 35 | 630 | BACTEC supplies: Consumables and reagents for rapide diagnosis of MDR TB
18 | Destaining reagent (mL) | Brain Heart Infusion agar, (kg) | 33 | Bottle (0.5 kg) | 112.56 | 3714.48 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
19 | 106259 | Petri-dishes plastic (pieces), 1 petri dish for 4 positive+contamianted tubes (pieces) | 2 | pack (480) | 36.12 | 72.24 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
20 |  | Procured tubes for S, (pieces) | 459 | tubes (1 unit) | 1.2 | 550.8 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
21 |  | Procured tubes for I, (pieces) | 459 | tubes (1 unit) | 1.2 | 550.8 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
22 |  | Procured tubes for R, (pieces) | 459 | tubes (1 unit) | 1.2 | 550.8 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
23 |  | Procured tubes for E, (pieces) | 459 | tubes (1 unit) | 1.2 | 550.8 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
24 | Slides (pieces) | Standard of turbidity McFarland, 2standard per each 5 laboratories (pieces) | 11 | unit | 50 | 550 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
25 | Destaining reagent (mL) | PP-tubes for centrifuge, sterile, 15 ml for inoculum preparation, (pieces) | 8 | pack | 93.52 | 748.16 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
26 |  | Procured tubes for Amk, (pieces) | 459 | tubes (1 unit) | 1.2 | 550.8 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
27 |  | Procured tubes for Cap, (pieces) | 459 | tubes (1 unit) | 1.2 | 550.8 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
28 |  | Procured tubes for Eth, (pieces) | 459 | tubes (1 unit) | 1.2 | 550.8 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
29 |  | Procured tubes for Levf, (pieces) | 459 | tubes (1 unit) | 1.2 | 550.8 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
30 |  | Procured tubes for PAS, (pieces) | 459 | tubes (1 unit) | 1.2 | 550.8 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
31 | Sputum containers (pieces) | BBL MGIT Tubes for use in Bactec MGIT 960 (7ml) - 100 tubes/pkg (kit) | 30 | kit (100 tubes) | 195 | 5850 | BACTEC supplies: Consumables and reagents for rapide diagnosis of MDR TB
32 |  | BACTEC MGIT 960 Supplement Kit (100 tests, PANTA and OADC combined) (kit) | 10 | kit (100 tests) | 70.8 | 708 | BACTEC supplies: Consumables and reagents for rapide diagnosis of MDR TB
33 |  | Tips 200-1000 ml tips with filter (pieces) | 2 | kit (100 tests) | 136.23 | 272.46 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
34 | Sputum containers (pieces) | BACTEC™ MGIT™ 960 SIRE kit, One kit is sufficient for 40 test (test) | 49 | kit (40 tests) | 72.7 | 3562.3 | BACTEC supplies: Consumables and reagents for rapide diagnosis of MDR TB
35 | Sputum containers (pieces) | TIPS, PP, 20-200 μl, sterile, autoclavable with Filter (pieces) | 6 | pack (960) | 92.87 | 557.22 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
36 |  | TIPS, PP, 100-1000 μl, sterile, autoclavable with Filter (pieces) | 6 | pack (960) | 61.3 | 367.8 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
37 |  | Dispenser-tips Universal 10ml sterile (pieces) | 10 | pack (100) | 106.3 | 1063 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
38 | Sputum containers (pieces) | BACTEC™ MGIT™ PZA Kit 50 tests, (tests) | 9 | kit (50 tests) | 90.6 | 815.4 | BACTEC supplies: Consumables and reagents for rapide diagnosis of MDR TB
39 |  | BACTEC™ MGIT™ PZA Tubes - kit 25 tests (tests) | 18 | kit (25 tests) | 53.55 | 963.9 | BACTEC supplies: Consumables and reagents for rapide diagnosis of MDR TB
40 |  | Calibrators, (by each Bactec) | 10 | kit | 600 | 6000 | BACTEC supplies: Consumables and reagents for rapide diagnosis of MDR TB
41 |  | Suports for 5 MGIT AST tubes | 10 | set | 35 | 350 | BACTEC supplies: Consumables and reagents for rapide diagnosis of MDR TB
42 |  | Suports for 8 MGIT AST tubes | 10 | set | 35 | 350 | BACTEC supplies: Consumables and reagents for rapide diagnosis of MDR TB
43 |  | Suports for 2 MGIT AST tubes | 6 | set | 35 | 210 | BACTEC supplies: Consumables and reagents for rapide diagnosis of MDR TB
44 | Sputum containers (pieces) | Geno Type MTBDRplus (96 tests/kit), Version 2.0 (test) | 4 | kit (96 tests) | 720 | 2880 | HAIN: Tests for rapid identification of R/H resistance
45 |  | GenoLyse (96 tests), Version 1.0 (51610) (test) | 4 | kit (96 tests) | 0 | 0 | HAIN: Tests for rapid identification of R/H resistance
46 |  | PCR tubes, 0.2 ml with attached caps, sterile, DNAse- RNAse-free, 1000 per pack | 2 | pack (1000) | 45.41 | 90.82 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
47 |  | Cryo-vial, sterile with cap, 1.5 ml | 2 | pack (1000) | 398.81 | 797.62 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
48 |  | DNAse-/RNAse-free TIPS, for pipettes 0.1 - 10 µl | 4 | pack (480) | 107.17 | 428.68 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
49 |  | DNAse-/RNAse-free TIPS, for pipettes 20 - 200 µl | 6 | pack (480) | 91.81 | 550.86 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
50 |  | Long 1 ml tips with filter | 7 | pack (800) | 134.68 | 942.76 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
51 |  | Disposable pasteur pipettes, graduated, non sterile, 155 mm | 6 | pack (500) | 16.68 | 100.08 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
52 |  | Marker pen, water resistant | 24 | pack (1) | 1.84 | 44.16 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
53 |  | Molecular grade water - 10 x 1.7ml, 1 vial per batch | 6 | kit (10x1,7 ml) | 168.46 | 1010.76 | HAIN: Tests for rapid identification of R/H resistance
54 |  | Sterile, DNA-/RNAse-free TIPS 100 - 1000 µl | 2 | pack (480) | 60.8 | 121.6 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
55 |  | Forceps plastic | 2 | pack (100) | 15.46 | 30.92 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
56 |  | Plastic bags, disposable PP, 100 pieces per pack | 27 | pack(100) | 13.04 | 352.08 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
57 |  | Filter paper - sheets | 57 | pack(100) | 136.82 | 7798.74 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
58 |  | Sodium Hypochloride - 1 Kg - 14% activity | 51 | botle (1 kg) | 23.73 | 1210.23 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
59 |  | Single-use paper towels | 9 | pack(4500) | 17.95 | 161.55 | CONSUMABLES for culture investigations and DST (I & II line) manual/classic technique
60 |  | Ethanol / Isopropanol - 1 Liter | 138 | botle (1 litre) | 11.55 | 1593.9 | REAGENTS for culture investigations and DST (I & II line) manual/classic technique
61 | Sputum containers (pieces) | Geno Type MTBDRsl (96 tests/kit), (test) | 4 | kit (96 tests) | 720 | 2880 | HAIN: Tests for rapid identification of R/H resistance
62 |  | GenoLyse (96 tests), Version 1.0 (51610) (test) | 4 | kit (96 tests) | 0 | 0 | HAIN: Tests for rapid identification of R/H resistance
63 | Sputum containers (pieces) | Geno Type MTBDR AC/CM (96 tests/kit), (test) | 0 | kit (96 tests) | 720 | 0 | HAIN: Tests for rapid identification of R/H resistance
64 |  | GenoLyse (96 tests), Version 1.0 (51610) (test) | 0 | kit (96 tests) | 0 | 0 | HAIN: Tests for rapid identification of R/H resistance
65 | Xpert MTB/RIF cartridges | Xpert MTB/RIF cartridges | 0 | pack (10) | 99.8 | 0 | Procurement of equipment and tests for automated MTB detection and MDR screening (Xpert MTB/RIF technology)
|  | Total per 2015 |  |  |  | 60378.73

## PROCESSING & solid CULTURE
PROCESSING AND INOCULATION LJ + MGIT
|  | Number of samples inoculated on MGIT | 1
|  | Number of samples inoculated on LJ | 1
|  | Number of total samples inoculated on LJ+MGIT | 2
|  | Repetition rate, 5% | 0.1
|  | QC tests - 1 week (1 test for pozitive sample *3 technicians*4 laboratories) + (1 test for negative specimens*3 technicians*4 laboratories)=24 tests/week; 1 year= 24 *52=1248/per year | 1248
|  | Total samples for processing and inoculation | 1250.1
|  | Total volume of ready solution of Phosphate buffer, 40 ml per specimen | 50004
|  | Total volume of NaOH-NALC sol, 5 ml per specimen, ml | 6250.5
|  | Average volume per specimen in ml, to be decontaminated | 5
|  | Period |  | 12 month
|  | Total nr of specimens (LJ+MGIT) |  | a = | 1250.1
Phosphate buffer |  | Total volume of ready solution of Phosphate buffer, 40 ml per specimens |  | b = | 50004
NALC decontamination method |  | Total volume of NaOH-NALC sol, 5 ml per specimens, ml |  | c = | 6250.5
|  |  |  | # Item needed to perform one procedure | # Item needed | Rezerve, buffer stock | Quantity to be ordered | Vendor's item amount |  | Orderable Amount | Orderable Amount (rounded ) | Orderable Unit | Unit cost (US$) | TOTAL cost (US$)
Processing. Reagents |  |  |  | (e) | (b) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
|  | ITEMS |  |  |  | 50%
1 | Sputum containers (pieces) | di-Sodium hydrogen phosphate anhydrous, Na2HPO4, 4,7 g per 1000 ml (kg) |  | 4.74 | 237.019 | 118.5095 | 355.5284 | Bottle (1 kg) | 1 | 355.5284 | 1 | Bottle | 83.7 | 83.7
2 | Slides (pieces) | Potassium dihydrogen phosphate, KH2PO4, 4,54 g per 1000 ml, (kg) |  | 4.54 | 227.0182 | 113.5091 | 340.5272 | Bottle (1 kg) | 1 | 340.5272 | 1 | Bottle | 32.5 | 32.5
|  | SUBTOTAL | [11 empty] | 116.2
NALC decontamination method |  |  |  | (e) | (c) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
|  | ITEMS |  |  |  | 50%
3 | Carbolfuchsin (mL) | tri-Sodium citrate dihydrate, C6H5Na3O7, 14,5 g per 1000 ml, (kg) |  | 14.5 | 90.6322 | 45.3161 | 135.9484 | Bottle (1 kg) | 1 | 135.9484 | 1 | Bottle | 68.95 | 68.95
4 |  | Sodium hydroxide, NaOH, 20 g per 1000 ml, (kg) |  | 20 | 125.01 | 62.505 | 187.515 | Bottle (1 kg) | 1 | 187.515 | 1 | Bottle | 31.1 | 31.1
5 |  | N-acetyl-L-cysteine (NALC), C5H9NO3S, 5 g per 1000 ml, (kg) |  | 5 | 31.2525 | 15.6263 | 46.8788 | Bottle (0,1 kg) | 100 | 0.46879 | 1 | Bottle | 105.29 | 105.29
|  | SUBTOTAL | [11 empty] | 205.34
Processing. Consumables. |  |  |  | (e) | (a) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
|  | ITEMS |  |  |  | 20%
6 | Methylene blue (mL) | PP-tubes for centrifuge, sterile, 50 ml (pieces) |  | 1 | 1250.1 | 250.02 | 1500.12 | Bag (500) | 500 | 3.0002 | 4 | Bag | 75.35 | 301.4
7 | Immersion oil (mL) | Single use plastic Pasteur-pipettes sterile individually packed, 3 ml,graduated (pieces) |  | 1 | 1250.1 | 250.02 | 1500.12 | Bag (500) | 500 | 3.0002 | 4 | Bag | 42.12 | 168.48
|  | SUBTOTAL | [11 empty] | 469.88
|  | TOTAL Subculture of MGIT positive strain and storage positive MGIT+LJ strain | [11 empty] | 791.42

## LJ ready&ixstorage
SOLID CULTURE. LJ READY MADE MIX. (for subculture positive MGIT strain and storage of positive LJ +MGIT strain)
|  | Number of samples inoculated on MGIT tubes (each MGIT tube should be inoculated in paralel with 1 solid LJ tube) |  | 1
|  | Subculture of pozitive MGIT tubes on LJ tube for storage (34% for all specimens inoculated on MGIT) |  | 0.34
|  | Total LJ positive strain requiered for storage |  | 0.35
|  | Repetition rate, 4% |  | 0.0676
|  | QC for new batch, 2% |  | 0.035152
|  | Total nr of LJ slants, (pieces) | (a) | 1.7928
|  | Average volume of LJ culture medium per tube, ml |  | 5
|  | Total volume of LJ medium, ml |  | 8.9638
|  | Number of slants produced with standard batch (pieces) |  | 324 | Calculation for this parameter is based for 1620ml total volume of final solution is - http://www.stoptb.org/wg/gli/assets/documents/24_plain_egg-based_media_fin.doc
|  | Total nr. of batches | ( b) | 0.0055332
|  | Total volume of 7H10 medium, 2 ml per sample for storage |  | 1.38 | 2 ml per sample
|  | Total nr. of batches of 7H9 | ( c) | 0.0138
|  | Total nr of really positive tubes | ( d) | 0.69
|  | Total nr. of LJ slants, (pieces) |  | a = |  | 1.7928
|  | Total nr. of batches LJ ready mix |  | b = |  | 0.0055332
|  | Total nr. of batches of 7H9 |  | c = |  | 0.0138 | 5g per 1000 ml mediu //2 ml per storage specimens
|  | Total nr. of really postive tubes |  | d = |  | 0.69
|  |  |  | # Item needed to perform one procedure |  | # Item needed | Rezerve, buffer stock | Quantity to be ordered | Vendor's item amount |  | Orderable Amount | Orderable Amount (rounded ) | Orderable Unit | Unit cost (US$) | TOTAL cost (US$)
Subuclture, storage. Reagents |  |  |  | (e) |  | (b) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
ITEMS
1 | Sputum containers (pieces) | Ready-to-use LJ mix (g) |  | 37.5 |  | 0.20749 | 0.020749 | 0.22824 | Bottle (0.5 kg) | 500 | 0.00045649 | 1 | Bottle | 108.18 | 108.18
2 | Slides (pieces) | Glycerol >99% purity (ml) |  | 12 |  | 0.066398 | 0.0066398 | 0.073038 | Bottle (0,5 liter) | 500 | 0.00014608 | 1 | Bottle | 15.61 | 15.61
3 | Destaining reagent (mL) | Fresh eggs fed without growth factors (antibiotics) (pieces) |  | 0 |  | 0 | 0 | 0 | 1 unit | 1 | 0 | 0 | 1 unit | 0 | 0
|  | SUBTOTAL | [12 empty] | 123.79
Subuclture, storage. Reagents |  |  |  | (e) |  | (c) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
ITEMS
4 | Carbolfuchsin (mL) | Medium 7H9, (g) |  | 5 |  | 0.069 | 0.0069 | 0.0759 | Bottle (0.5 kg) | 500 | 0.0001518 | 1 | Bottle | 225 | 225
|  | SUBTOTAL | [12 empty] | 225
Subuclture, storage. Consumables |  |  |  | (e) |  | (d) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
ITEMS
5 | Methylene blue (mL) | Single use plastic Pasteur-pipettes sterile individually packed, 3 ml,graduated (pieces) |  | 1 |  | 0.69 | 0.069 | 0.759 | Bag (500) | 500 | 0.001518 | 1 | Bag | 42.12 | 42.12
6 | Immersion oil (mL) | Disposable loops 10 µl (pieces) |  | 1 |  | 0.69 | 0.069 | 0.759 | Bag (500) | 500 | 0.001518 | 1 | Bag | 24.59 | 24.59
7 | Burning spirit (mL) | Cryo-vial, sterile with cap, 2 ml (pieces) |  | 1 |  | 0.69 | 0.069 | 0.759 | Bag (1000) | 1000 | 0.000759 | 1 | Bag | 319.59 | 319.59
8 |  | Cryo-tags sized to fit for use on cryo-tubes, rolls of 1000 (pieces) |  | 1 |  | 0.69 | 0.069 | 0.759 | Bag (1000) | 1000 | 0.000759 | 1 | Bag | 33.99 | 33.99
9 |  | Deep freeze storage box with lid for 1.5 / 2 ml cryovials , autoclavable PP (pieces) |  | 1 |  | 0.69 | 0.069 | 0.759 | Box (96) | 96 | 0.0079062 | 1 | Box | 2.59 | 2.59
|  | SUBTOTAL | [12 empty] | 422.88
|  | TOTAL Subculture of MGIT positive strain and storage positive MGIT+LJ strain | [12 empty] | 771.67
Note on E25: user: 37,5 per batch
Note on E26: user: 12 ml per batch
Note on E32: user: 5 g per 1000 ml
Note on E37: user: per pozitive tubes (contamianted+really pozitive)
Note on E38: user: per pozitive tubes (contamianted+really pozitive)
Note on E39: user: per really pozitive
Note on E40: user: per really pozitive
Note on E41: user: per really pozitive

## LJ tubes
INOCULATION, IDENTIFICATION LJ MEDIUM
|  | Number of specimens for the period |  | 1
|  | Number of slants used per specimen |  | 2
|  | QC tests - 1 week (2 tubes for positive specimen *4 technicians*4 laboratories) + (2 tubes for negative specimen*4 technicians*4 laboratories)=64 tubes/week; 1 year= 64*52=3328/per year |  | 3328
|  | QC for new batches, 2% |  | 0.04
|  | Repetition rate, 5% |  | 0.1
|  | Contamination rate, 5% |  | 0.1
|  | Positivity rate, really positive, 35% | (c) | 0.35
|  | Positivity rate (contamination+really positive), 40% | (b) | 0.4
|  | TOTAL LJ tubes | (a) | 3330.24
|  | Total nr of LJ slants, (pieces) |  | a = | 3330.24
|  | Total nr of positive tubes (contamination+really positive) |  | b = | 0.4
|  | Total nr of really positive |  | c = | 0.35
|  |  |  | # Item needed to perform one procedure | # Item needed | Rezerve, buffer stock | Quantity to be ordered | Vendor's item amount |  | Orderable Amount | Orderable Amount (rounded ) | Orderable Unit | Unit cost (US$) | TOTAL cost (US$)
Inoculation |  |  |  | (e) | (a) x (e) = (f) | (f) x (10) /100 …… = (g), 10% | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
ITEMS
1 | Sputum containers (pieces) | Procured LJ tubes (pieces) |  | 1 | 3330.24 | 333.024 | 3663.264 | tubes (1 unit) | 1 | 3663.264 | 3664 | tubes | 1 | 3664
2 |  | Single use plastic Pasteur-pipettes sterile individually packed, 3 ml, graduated (pieces) |  | 1 | 1665.12 | 166.512 | 1831.632 | pack (500) | 500 | 3.6633 | 4 | pack | 42.12 | 168.48
|  | SUBTOTAL | [11 empty] | 3832.48
Identification |  |  |  | (e) | (b) x (e) = (f) | (f) x (10) /100 …… = (g), 10% | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
ITEMS
3 | Slides (pieces) | Rapid test for Detection of MPT 64 Antigen (test) |  | 1 | 0.2 | 0.02 | 0.22 | kit (25 tests) | 25 | 0.0088 | 1 | kit | 35 | 35
4 | Destaining reagent (mL) | Brain Heart Infusion agar, (kg) |  | 1 | 5 | 0.5 | 5.5 | bottle (0.5 kg) | 0.5 | 11 | 11 | bottle | 112.56 | 1238.16
5 | 106259 | Petri-dishes plastic (pieces), 1 petri dish for 4 positive+contaminated tubes (pieces) |  | 0.25 | 0.1 | 0.01 | 0.11 | pack (480) | 480 | 0.00022917 | 1 | pack | 36.12 | 36.12
6 |  | Single use plastic Pasteur-pipettes sterile individually packed, 3 ml, graduated (pieces) |  | 1 | 0.2 | 0.02 | 0.22 | pack (500) | 500 | 0.00044 | 1 | pack | 42.6 | 42.6
|  | SUBTOTAL | [11 empty] | 1351.88
|  | TOTAL Inoculation, Identification LJ medium | [11 empty] | 5184.36
Note on G24: GCDD: 1 pippet for 1 sample
Note on G28: GCDD: 1 test per specimens
Note on E29: user: for each laboraotires by 1 box
Note on G31: GCDD: 1 pippet for 1 sample

## DST LJ, I line
DST LJ, I line, procured tubes
|  | Number of specimens for the period | 1
|  | Number of total slants used per 1 specimen (1 control+4 AB) | 5
|  | Repetition, 5% | 0.05
|  | Weekly QC tests - 1 week (1 simple LJ tube for control+4 tubes SIRE/Sens strain) +(1 tube LJ simple control+4 tubes SIRE/Rez strain) =(2 simple LJ tubes/week +2 tubes per each AB/week)*4 laboratories; 1 year = 2*52*4=104 per each tubes (control +each AB)/per year | 416
|  | Total LJ simple | 417.05
|  | Total LJ for each AB | 417.05
|  | Total nr. of simple LJ tubes, (pieces) |  | a = | 417.05
|  | Total LJ tubes for each AB, (pieces for each AB) |  | b = | 417.05
|  |  |  | # Item needed to perform one procedure | # Item needed | Rezerve, buffer stock | Quantity to be ordered | Vendor's item amount |  | Orderable Amount | Orderable Amount (rounded ) | Orderable Unit | Unit cost (US$) | TOTAL cost (US$)
LJ DST I Line. Reagents. |  |  |  | (e) | (a) x (e) = (f) | (f) x (10) /100 = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
ITEMS
1 | Sputum containers (pieces) | Procured tubes simple, (pieces) |  | 1 | 417.05 | 41.705 | 458.755 | tubes (1 unit) | 1 | 458.755 | 459 | tubes | 1 | 459
2 |  | Procured tubes for S, (pieces) |  | 1 | 417.05 | 41.705 | 458.755 | tubes (1 unit) | 1 | 458.755 | 459 | tubes | 1.2 | 550.8
3 |  | Procured tubes for I, (pieces) |  | 1 | 417.05 | 41.705 | 458.755 | tubes (1 unit) | 1 | 458.755 | 459 | tubes | 1.2 | 550.8
4 |  | Procured tubes for R, (pieces) |  | 1 | 417.05 | 41.705 | 458.755 | tubes (1 unit) | 1 | 458.755 | 459 | tubes | 1.2 | 550.8
5 |  | Procured tubes for E, (pieces) |  | 1 | 417.05 | 41.705 | 458.755 | tubes (1 unit) | 1 | 458.755 | 459 | tubes | 1.2 | 550.8
|  | SUBTOTAL | [11 empty] | 2662.2
LJ DST I Line. Consumables. |  |  |  | (e) | (a) x (e) = (f) | (f) x (10) /100 = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
ITEMS
3 | Slides (pieces) | Standard of turbidity McFarland, 2standard per each 5 laboratories (pieces) |  | 1 | 10 | 1 | 11 | unit | 1 | 11 | 11 | unit | 50 | 550
4 | Destaining reagent (mL) | PP-tubes for centrifuge, sterile, 15 ml for inoculum preparation, (pieces) |  | 3 | 1251.15 | 125.115 | 1376.265 | pack (500) | 500 | 2.7525 | 3 | pack | 93.52 | 280.56
5 | 106259 | Single use plastic Pasteur-pipettes sterile individually packed (pieces) |  | 3 | 1251.15 | 125.115 | 1376.265 | pack (500) | 500 | 2.7525 | 3 | pack | 42.12 | 126.36
6 |  | Disposable loops 10 µl |  | 1 | 417.05 | 41.705 | 458.755 | pack (500) | 500 | 0.91751 | 1 | pack | 24.59 | 24.59
|  | SUBTOTAL | [11 empty] | 981.51
|  | TOTAL DST LJ I line | [11 empty] | 3643.71
Note on E26: user: for 3 dilutions of bacterial suspension
Note on E27: user: 2 for inoculum preparation+1 for inoculation

## DST LJ, II line
DST LJ, II line, procured tubes
|  | Number of specimens for the period | 1
|  | Number of total slants used per 1 specimen (1 control+4 AB) | 6
|  | Repetition, 5% | 0.05
|  | Weekly QC tests - 1 week (1 simple LJ tube for control+5 tubes AkCapEtOfPAS/Sens strain) +(1 simple LJ tube for control + 5 tubes AkCapEtOfPAS/Rez strain) = (2 simple LJ tubes/week +2 tubes per each AB/week); year - 2*52*4 laboratories = 416 per each control tube +each AB/per year | 416
|  | Total LJ simple | 417.05
|  | Total LJ for each AB | 417.05
|  | Total nr. of simple LJ tubes, (pieces) |  | a = | 417.05
|  | Total LJ tubes for each AB, (pieces for each AB) |  | b = | 417.05
|  |  |  | Item # needed to perform for one procedure | Item # needed | Stock buffer, 10 % | Quantity to be ordered | Vendor's item amount |  | Orderable Amount | Orderable Amount, rounded | Orderable Unit | Unit cost (US$) | TOTAL cost (US$)
LJ DST II Line. Reagents. |  |  |  | (e) | (a) x (e) = (f) | (f) x (10) /100 = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
ITEMS
1 | Sputum containers (pieces) | Procured tubes simple, (pieces) |  | 1 | 417.05 | 41.705 | 458.755 | tubes (1 unit) | 1 | 458.755 | 459 | tubes | 1 | 459
2 |  | Procured tubes for Amk, (pieces) |  | 1 | 417.05 | 41.705 | 458.755 | tubes (1 unit) | 1 | 458.755 | 459 | tubes | 1.2 | 550.8
3 |  | Procured tubes for Cap, (pieces) |  | 1 | 417.05 | 41.705 | 458.755 | tubes (1 unit) | 1 | 458.755 | 459 | tubes | 1.2 | 550.8
4 |  | Procured tubes for Eth, (pieces) |  | 1 | 417.05 | 41.705 | 458.755 | tubes (1 unit) | 1 | 458.755 | 459 | tubes | 1.2 | 550.8
5 |  | Procured tubes for Levf, (pieces) |  | 1 | 417.05 | 41.705 | 458.755 | tubes (1 unit) | 1 | 458.755 | 459 | tubes | 1.2 | 550.8
6 |  | Procured tubes for PAS, (pieces) |  | 1 | 417.05 | 41.705 | 458.755 | tubes (1 unit) | 1 | 458.755 | 459 | tubes | 1.2 | 550.8
|  | SUBTOTAL | [11 empty] | 3213
LJ DST II Line. Consumables. |  |  |  | (e) | (a) x (e) = (f) | (f) x (10) /100 = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
ITEMS
7 | Destaining reagent (mL) | PP-tubes for centrifuge, sterile, 15 ml for inoculum preparation, (pieces) |  | 3 | 1251.15 | 125.115 | 1376.265 | pack (500) | 500 | 2.7525 | 3 | pack | 93.52 | 280.56
8 | 106259 | Single use plastic Pasteur-pipettes sterile individually packed (pieces) |  | 3 | 1251.15 | 125.115 | 1376.265 | pack (500) | 500 | 2.7525 | 3 | pack | 42.12 | 126.36
9 |  | Disposable loops 10 µl |  | 1 | 417.05 | 41.705 | 458.755 | pack (500) | 500 | 0.91751 | 1 | pack | 24.59 | 24.59
|  | SUBTOTAL | [11 empty] | 431.51
|  | TOTAL DST LJ I line | [11 empty] | 3644.51
Note on E26: user: for 3 dilutions of bacterial susopension
Note on E27: user: 2 for inoculum preparation+1 for inoculation

## LIQUID CULTURE and DST
LIQUIDE CULTURE AND DST USING BACTEC 960 SYSTEM
TB CULTURE
|  | Number of specimens per 2021 |  | 523
|  | QC tubes - 1 week (2 tubes TTD; 1 tube postive+1 tub negative)*1 laboratories = 4 tubes; (4 *52*1=832/per year) |  | 208
|  | Expected contamination rate for liquid media, 11% |  | 57.53
|  | Expected repeated rate 6% |  | 31.38
|  | Number of total MGIT tubes (contam+reapet+QC) | (a) | 819.91
|  | % of MTB positive culture, 45% (really positive+contaminated) | (b) | 368.9595
|  | % of MTB positive culture, 34% really positive |  | 278.7694
DST MGIT I line
|  | Number of tests per 12 month |  | 350
|  | QC tubes (1 control +4 SIRE Sens strain)+ (1 control +4 SIRE Rez strain)=10 tubes; per year = 10 tubes*52 weeks*1 laboratories. |  | 520
|  | Expected repeat rate for SIRE (10%) |  | 35
|  | SIRE № of strains to be tested | ( c) | 905
DST MGIT PZA
|  | Number of test per 12 month = 50% from total nr from MGIT DST I line |  | 175
|  | QC tubes (1 control +1 tube PZA Sens strain)+ (1 control +1 Tube PZA rez strain)=4 tubes; per year = 4 tubes*52 weeks*1 laboratories. |  | 208
|  | Expected repeat rate for PZA (2%) |  | 3.5
|  | PZA № of strains to be tested | (c1) | 386.5
DST MGIT II line
|  | Number of tests per 12 month |  | 310
|  | QC tubes (1 control +4 AB Sens strain)+ (1 control +4 AB Rez strain)=10 tubes; per year = 10 tubes*52 weeks*1 laboratories. |  | 520
|  | Expected repeat rate for MGIT DST sl (10%) |  | 31
|  | SIRE № of strains to be tested | (d) | 861
[5 empty] | # Item needed to perform one procedure | # Item needed | Rezerve, buffer stock | Quantity to be ordered | Vendor's item amount |  | Orderable Amount | Orderable Amount (rounded ) | Orderable Unit | Unit cost (US$) | TOTAL cost (US$)
|  | MGIT Inoculation |  |  | (e) | (a) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
|  | ITEMS reagents |  |  |  |  | 10%
1 | Sputum containers (pieces) | BBL MGIT Tubes for use in Bactec MGIT 960 (7ml) - 100 tubes/pkg (kit) |  |  | 1 | 819.91 | 81.991 | 901.901 | kit (100 tubes) | 100 | 9.019 | 10 | kit | 195 | 1950
2 |  | BACTEC MGIT 960 Supplement Kit (100 tests, PANTA and OADC combined) (kit) |  |  | 1 | 819.91 | 81.991 | 901.901 | kit (100 tests) | 100 | 9.019 | 10 | kit | 70.8 | 708
|  | SUBTOTAL | [12 empty] | 2658
|  | ITEMS, consumables |  |  |  |  | 10%
3 | Sputum containers (pieces) | Single use plastic Pasteur-pipettes sterile individually packed, 3 ml,graduated (pieces) |  |  | 1 | 819.91 | 81.991 | 901.901 | pack (500) | 500 | 1.8038 | 2 | pack | 42.12 | 84.24
4 |  | Tips 200-1000 ml tips with filter (pieces) |  |  | 1 | 819.91 | 81.991 | 901.901 | pack (800) | 800 | 1.1274 | 2 | pack | 136.23 | 272.46
|  | SUBTOTAL | [12 empty] | 356.7
|  | Total MGIT inoculation | [12 empty] | 3014.7
|  | MGIT Identification |  |  | (e) | (b) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
|  | ITEMS |  |  |  |  | 10%
1 | Sputum containers (pieces) | Rapid test for Detection of MPT 64 Antigen, (test) |  |  | 1 | 368.9595 | 36.8959 | 405.8555 | kit (25tests) | 25 | 16.2342 | 17 | kit | 35 | 595
2 |  | Brain Heart Infusion agar (kg) |  |  | 1 | 10 | 1 | 11 | 1 bottle(0,5 kg) | 0.5 | 22 | 22 | bottle | 112.58 | 2476.76
|  | SUBTOTAL | [12 empty] | 3071.76
|  | ITEMS |  |  |  |  | 10%
3 | Sputum containers (pieces) | Petri-dishes plastic (pieces), 1 petri dish for 4 positive+contamianted tubes (pieces) |  |  | 0.25 | 92.2399 | 9.224 | 101.4639 | pack (480) | 480 | 0.21138 | 1 | pack | 36.12 | 36.12
4 |  | Single use plastic Pasteur-pipettes sterile individually packed, 3 ml,graduated (pieces) |  |  | 1 | 368.9595 | 36.8959 | 405.8555 | pack (500) | 500 | 0.81171 | 1 | pack | 42.12 | 42.12
5 |  | Calibrators, (by each Bactec) |  |  | 2 | 10 | 0 | 10 | kit | 1 | 10 | 10 | kit | 600 | 6000
6 |  | Suports for 5 MGIT AST tubes |  |  | 2 | 10 | 0 | 10 | set | 1 | 10 | 10 | set | 35 | 350
7 |  | Suports for 8 MGIT AST tubes |  |  | 2 | 10 | 0 | 10 | set | 1 | 10 | 10 | set | 35 | 350
8 |  | Suports for 2 MGIT AST tubes |  |  | 1 | 6 | 0 | 6 | set | 1 | 6 | 6 | set | 35 | 210
|  | SUBTOTAL | [12 empty] | 6988.24
|  | Total MGIT identification | [12 empty] | 10060
[5 empty] | (e) | (c) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
MGIT Drug Susceptibility Testing, I line
|  | ITEMS |  |  |  |  | 10%
1 | Sputum containers (pieces) | BACTEC™ MGIT™ 960 SIRE kit, One kit is sufficient for 40 test (test) |  |  | 1 | 905 | 90.5 | 995.5 | kit (40 tests) | 40 | 24.8875 | 25 | kit | 72.7 | 1817.5
2 |  | BBL MGIT Tubes for use in Bactec MGIT 960 (7ml) - 100 tubes/pkg (test) |  |  | 1 | 905 | 90.5 | 995.5 | kit (100 tests) | 100 | 9.955 | 10 | kit | 195 | 1950
|  | SUBTOTAL | [12 empty] | 3767.5
|  | ITEMS |  |  |  |  | 10%
3 | Sputum containers (pieces) | TIPS, PP, 20-200 μl, sterile, autoclavable with Filter (pieces) |  |  | 2 | 1810 | 181 | 1991 | pack (960) | 960 | 2.074 | 3 | pack | 92.87 | 278.61
4 |  | TIPS, PP, 100-1000 μl, sterile, autoclavable with Filter (pieces) |  |  | 2 | 1810 | 181 | 1991 | pack (960) | 960 | 2.074 | 3 | pack | 61.3 | 183.9
5 |  | Dispenser-tips Universal 10ml sterile (pieces) |  |  | 2 | 400 | 40 | 440 | pack (100) | 100 | 4.4 | 5 | pack | 106.3 | 531.5
|  | SUBTOTAL | [12 empty] | 994.01
|  | Total MGIT DST I line | [12 empty] | 4761.51
[5 empty] | (e) | (c1) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
Drug Susceptibility Testing, PZA
|  | ITEMS |  |  |  |  | 10%
1 | Sputum containers (pieces) | BACTEC™ MGIT™ PZA Kit 50 tests, (tests) |  |  | 1 | 386.5 | 38.65 | 425.15 | kit (50 tests) | 50 | 8.503 | 9 | kit | 90.6 | 815.4
2 |  | BACTEC™ MGIT™ PZA Tubes - kit 25 tests (tests) |  |  | 1 | 386.5 | 38.65 | 425.15 | kit (25 tests) | 25 | 17.006 | 18 | kit | 53.55 | 963.9
|  | SUBTOTAL | [12 empty] | 1779.3
|  | ITEMS |  |  |  |  | 10%
3 | Sputum containers (pieces) | TIPS, PP, 20-200 μl, sterile, autoclavable with Filter (pieces) |  |  | 2 | 773 | 77.3 | 850.3 | pack (960) | 960 | 0.88573 | 1 | pack | 92.87 | 92.87
4 |  | TIPS, PP, 100-1000 μl, sterile, autoclavable with Filter (pieces) |  |  | 2 | 773 | 77.3 | 850.3 | pack (960) | 960 | 0.88573 | 1 | pack | 61.3 | 61.3
|  | SUBTOTAL | [12 empty] | 154.17
|  | Total DST MGIT PZA | [12 empty] | 1933.47
[5 empty] | (e) | (d) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
MGIT Drug Susceptibility Testing, II line
|  | ITEMS |  |  |  |  | 10%
1 | Sputum containers (pieces) | BACTEC™ MGIT™ 960 SIRE kit, One kit is sufficient for 40 test (test) |  |  | 1 | 861 | 86.1 | 947.1 | kit (40 tests) | 40 | 23.6775 | 24 | kit | 72.7 | 1744.8
2 |  | BBL MGIT Tubes for use in Bactec MGIT 960 (7ml) - 100 tubes/pkg (test) |  |  | 1 | 861 | 86.1 | 947.1 | kit (100 tests) | 100 | 9.471 | 10 | kit | 195 | 1950
|  | SUBTOTAL | [12 empty] | 3694.8
|  | ITEMS |  |  |  |  | 10%
3 | Sputum containers (pieces) | TIPS, PP, 20-200 μl, sterile, autoclavable with Filter (pieces) |  |  | 2 | 1722 | 172.2 | 1894.2 | pack (960) | 960 | 1.9731 | 2 | pack | 92.87 | 185.74
4 |  | TIPS, PP, 100-1000 μl, sterile, autoclavable with Filter (pieces) |  |  | 2 | 1722 | 172.2 | 1894.2 | pack (960) | 960 | 1.9731 | 2 | pack | 61.3 | 122.6
5 |  | Dispenser-tips Universal 10ml sterile (pieces) |  |  | 2 | 400 | 40 | 440 | pack (100) | 100 | 4.4 | 5 | pack | 106.3 | 531.5
|  | SUBTOTAL | [12 empty] | 839.84
|  | Total MGIT DST II line | [12 empty] | 4534.64
|  | Summary |  |  | Costs (USD)
|  | Total amount for inoculation |  |  | 3014.7
|  | Total amount for identification |  |  | 10060
|  | Total amount for DST SIRE |  |  | 4761.51
|  | Total amount for DST PZA |  |  | 1933.47
|  | Total amount DST SLD |  |  | 4534.64
|  | TOTAL COST LIQUID CULTURE & DST |  |  | 24304.32
Note on H45: user: 2 bottle per each laboraotries per year
Note on F50: user: cate un kit per 6 month, 2 per year pe equipment
Note on H50: user: 2 per year/per echipament
Note on F51: user: 2 sets per equipment/per year
Note on F52: user: 2 sets per equipment/per year
Note on F53: user: 1 set per equipment/per year
Note on F63: user: 1 tip per test for adding drug + 1 tip per test for dilution GC
Note on F64: user: 1 tip per test for supplement + 1 tip per test for bacteria
Note on F65: user: 2 tip per working day //200 working days
Note on F75: GCDD: 1 tip per test for adding drug + 1 tip per test for dilution GC
Note on F76: GCDD: 1 tip per test for adding drug + 1 tip per test for dilution GC
Note on F86: user: 1 tip per test for adding drug + 1 tip per test for dilution GC
Note on F87: user: 1 tip per test for supplement + 1 tip per test for bacteria
Note on F88: user: 2 tip per working day //200 working days

## LPA, plus
LINE PROBE ASSAY USING HAIN KITS MTBDRplus, V2
|  | № of tests coming from LJ/MGIT Culture for DST with LPA |  | 224
|  | Estimated % of repetitions, 10% |  | 22.4
|  | Number of extra test per batch for pipetting error, 2% |  | 4.48
|  | Number of tests for QC (2 per batch) for total nr of tests |  | 41.8133
|  | Total number of tests to be done for the period | (a) | 292.6933
|  | Number of batch per week |  | 2
|  | Number of specimen in one batch |  | 10
|  | № of controls per batch |  | 2
|  | Average size of a batch |  | 12
|  | Number of batch for the period | (b) | 24.3911
|  | LPA Equipment used in the laboratory | TWINCUBATOR
|  | Total number of tests to be done for the period | a= | 292.6933
|  | Number of batches | b= | 24.3911
|  | Number of working days | c= | 200
|  | LPA, I line |  |  | (e) | (a) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
|  | ITEMS reagents |  |  |  |  | 10%
1 | Sputum containers (pieces) | Geno Type MTBDRplus (96 tests/kit), Version 2.0 (test) |  |  | 1 | 292.6933 | 29.2693 | 321.9627 | kit (96 tests) | 96 | 3.3538 | 4 | kit | 720 | 2880
2 |  | GenoLyse (96 tests), Version 1.0 (51610) (test) |  |  | 1 | 292.6933 | 29.2693 | 321.9627 | kit (96 tests) | 96 | 3.3538 | 4 | kit | 0 | 0
|  | PCR tubes, 0.2 ml with attached caps, sterile, DNAse- RNAse-free, 1000 per pack |  |  | 1 | 292.6933 | 29.2693 | 321.9627 | pack (1000) | 1000 | 0.32196 | 1 | pack | 45.41 | 45.41
|  | Cryo-vial, sterile with cap, 1.5 ml |  |  | 2 | 585.3867 | 58.5387 | 643.9253 | pack (1000) | 1000 | 0.64393 | 1 | pack | 398.81 | 398.81
|  | Cryo-vial, sterile with cap, 2 ml (pieces) |  |  | 1 | 292.6933 | 29.2693 | 321.9627 | pack (1000) | 1000 | 0.32196 | 1 | pack | 319.59 | 319.59
|  | Cryo-tags, sized to fit for use on cryo-tubes, |  |  | 1 | 292.6933 | 29.2693 | 321.9627 | pack (1000) | 1000 | 0.32196 | 1 | pack | 34 | 34
|  | DNAse-/RNAse-free TIPS, for pipettes 0.1 - 10 µl |  |  | 2 | 585.3867 | 87.808 | 673.1947 | pack (480) | 480 | 1.4025 | 2 | pack | 107.17 | 214.34
|  | DNAse-/RNAse-free TIPS, for pipettes 20 - 200 µl |  |  | 2 | 585.3867 | 58.5387 | 643.9253 | pack (480) | 480 | 1.3415 | 2 | pack | 91.81 | 183.62
|  | Long 1 ml tips with filter |  |  | 2 | 585.3867 | 58.5387 | 643.9253 | pack (800) | 800 | 0.80491 | 1 | pack | 134.68 | 134.68
|  | Disposable pasteur pipettes, graduated, non sterile, 155 mm |  |  | 2 | 585.3867 | 58.5387 | 643.9253 | pack (500) | 500 | 1.2879 | 2 | pack | 16.68 | 33.36
|  | Marker pen, water resistant |  |  | 0.034 | 9.9516 | 0.99516 | 10.9467 | pack (1) | 1 | 10.9467 | 11 | pack | 1.84 | 20.24
|  | SUBTOTAL | [12 empty] | 4264.05
|  | ITEMS reagents |  |  | (e) | (b) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
10%
|  | Molecular grade water - 10 x 1.7ml, 1 vial per batch |  |  | 1 | 24.3911 | 2.4391 | 26.8302 | kit (10x1,7 ml) | 10 | 2.683 | 3 | kit | 168.46 | 505.38
|  | DNAse-/RNAse-free TIPS, for pipettes 20 - 200 µl |  |  | 6 | 146.3467 | 21.952 | 168.2987 | pack (480) | 480 | 0.35062 | 1 | pack | 91.81 | 91.81
|  | Sterile, DNA-/RNAse-free TIPS 100 - 1000 µl |  |  | 1 | 24.3911 | 3.6587 | 28.0498 | pack (480) | 480 | 0.058437 | 1 | pack | 60.8 | 60.8
|  | Long 1 ml tips with filter |  |  | 10 | 2926.9333 | 439.04 | 3365.9733 | pack (800) | 800 | 4.2075 | 5 | pack | 134.68 | 673.4
|  | Disposable pasteur pipettes, graduated, non sterile, 155 mm |  |  | 5 | 121.9556 | 12.1956 | 134.1511 | pack (500) | 500 | 0.2683 | 1 | pack | 16.68 | 16.68
|  | Forceps plastic |  |  | 2 | 48.7822 | 4.8782 | 53.6604 | pack (100) | 100 | 0.5366 | 1 | pack | 15.46 | 15.46
|  | PP-tubes for centrifuge, non sterile, 15 ml |  |  | 4 | 97.5644 | 9.7564 | 107.3209 | pack (500) | 500 | 0.21464 | 1 | pack | 93.52 | 93.52
|  | PP-tubes for centrifuge non sterile 50 ml |  |  | 3 | 73.1733 | 7.3173 | 80.4907 | pack (500) | 501 | 0.16066 | 1 | pack | 75.35 | 75.35
|  | SUBTOTAL | [12 empty] | 1532.4
|  | ITEMS reagents |  |  | (e) | (c) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
15%
|  | Plastic bags, disposable PP, 100 pieces per pack |  |  | 4 | 800 | 80 | 880 | pack(100) | 100 | 8.8 | 9 | pack | 13.04 | 117.36
|  | Filter paper - sheets |  |  | 8 | 1600 | 240 | 1840 | pack(100) | 100 | 18.4 | 19 | pack | 136.82 | 2599.58
|  | Sodium Hypochloride - 1 Kg - 14% activity |  |  | 0.072 | 14.4 | 2.16 | 16.56 | botle (1 kg) | 1 | 16.56 | 17 | botlle | 23.73 | 403.41
|  | Single-use paper towels |  |  | 40 | 8000 | 1200 | 9200 | pack(4500) | 4500 | 2.0444 | 3 | pack | 17.95 | 53.85
|  | Ethanol / Isopropanol - 1 Liter |  |  | 0.2 | 40 | 6 | 46 | botle (1 litre) | 1 | 46 | 46 | botlle | 11.55 | 531.3
|  | SUBTOTAL | [12 empty] | 3705.5
|  | Summary | [12 empty] | 9501.95
Note on F26: GCDD: 1 cryo-vial are needed for storage purpose
Note on F27: GCDD: 1 tag par vial gor storage
Note on F28: GCDD: 2 tip per tests
Note on J28: GCDD: 10% buffer stock ++ 5% extra to add supernatent to PCR Tubes and n x 5 μl DNA
Note on F30: GCDD: 2 tips to add/discard decontaminated specimen - only for twincubator
Note on F31: GCDD: 2 pipettes per sample to remove Hybridisation and STR
Note on F32: GCDD: 1 pen for 3 kits (288tests)
Note on F38: GCDD: 2 tips per batch for amplification - 1 tip per batch to add DEN - 1 tip per test to add DNA/amplicon - if twincubator 2 tips for SUB/CONJ
Note on J38: + 5% extra
Note on F39: GCDD: 1 tip per batch for mastermix
Note on J39: GCDD: +5% extra
Note on F40: GCDD: 2 tips per batch to add Hybridisation and STR + 8 tips per batch to add RINS (3), WATER (3), SUB(1) CONJ (1)
Note on F41: GCDD: 5 pipettes par batch to remove RINS/WATER/SUB/CONJ
Note on J41: GCDD: + 5% extra
Note on F43: GCDD: 4 tubes per batch (diluting CON and SUB + HYB + STR)
Note on F44: GCDD: 3 tubes per batch
Note on F48: GCDD: 4 per working days
Note on F49: GCDD: 8 per working day
Note on F50: GCDD: 200 ml per day of final solution - 72 gr per liter

## LPA sl
LINE PROBE ASSAY USING HAIN KITS MTBDRplus, V2
|  | № of tests coming from LJ/MGIT Culture for DST with LPA |  | 260
|  | Estimated % of repetitions, 10% |  | 26
|  | Number of extra test per batch for pipetting error, 2% |  | 5.2
|  | Number of tests for QC (2 per batch) for total nr of tests |  | 48.5333
|  | Total number of tests to be done for the period | (a) | 339.7333
|  | Number of batch per week |  | 2
|  | Number of specimen in one batch |  | 10
|  | № of controls per batch |  | 2
|  | Average size of a batch |  | 12
|  | Number of batch for the period | (b) | 28.3111
|  | LPA Equipment used in the laboratory | TWINCUBATOR
|  | Total number of tests to be done for the period | a= | 339.7333
|  | Number of batches | b= | 24.3911
|  | Number of working days | c= | 200
|  | LPA, I line |  |  | (e) | (a) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
|  | ITEMS reagents |  |  |  |  | 10%
1 | Sputum containers (pieces) | Geno Type MTBDRsl (96 tests/kit), (test) |  |  | 1 | 339.7333 | 33.9733 | 373.7067 | kit (96 tests) | 96 | 3.8928 | 4 | kit | 720 | 2880
2 |  | GenoLyse (96 tests), Version 1.0 (51610) (test) |  |  | 1 | 339.7333 | 33.9733 | 373.7067 | kit (96 tests) | 96 | 3.8928 | 4 | kit | 0 | 0
|  | PCR tubes, 0.2 ml with attached caps, sterile, DNAse- RNAse-free, 1000 per pack |  |  | 1 | 339.7333 | 33.9733 | 373.7067 | pack (1000) | 1000 | 0.37371 | 1 | pack | 45.41 | 45.41
|  | Cryo-vial, sterile with cap, 1.5 ml |  |  | 2 | 679.4667 | 67.9467 | 747.4133 | pack (1000) | 1000 | 0.74741 | 1 | pack | 398.81 | 398.81
|  | Cryo-vial, sterile with cap, 2 ml (pieces) |  |  | 1 | 339.7333 | 33.9733 | 373.7067 | pack (1000) | 1000 | 0.37371 | 1 | pack | 319.59 | 319.59
|  | Cryo-tags, sized to fit for use on cryo-tubes, |  |  | 1 | 339.7333 | 33.9733 | 373.7067 | pack (1000) | 1000 | 0.37371 | 1 | pack | 34 | 34
|  | DNAse-/RNAse-free TIPS, for pipettes 0.1 - 10 µl |  |  | 2 | 679.4667 | 101.92 | 781.3867 | pack (480) | 480 | 1.6279 | 2 | pack | 107.17 | 214.34
|  | DNAse-/RNAse-free TIPS, for pipettes 20 - 200 µl |  |  | 2 | 679.4667 | 67.9467 | 747.4133 | pack (480) | 480 | 1.5571 | 2 | pack | 91.81 | 183.62
|  | Long 1 ml tips with filter |  |  | 2 | 679.4667 | 67.9467 | 747.4133 | pack (800) | 800 | 0.93427 | 1 | pack | 134.68 | 134.68
|  | Disposable pasteur pipettes, graduated, non sterile, 155 mm |  |  | 2 | 679.4667 | 67.9467 | 747.4133 | pack (500) | 500 | 1.4948 | 2 | pack | 16.68 | 33.36
|  | Marker pen, water resistant |  |  | 0.034 | 11.5509 | 1.1551 | 12.706 | pack (1) | 1 | 12.706 | 13 | pack | 1.84 | 23.92
|  | SUBTOTAL | [12 empty] | 4267.73
|  | ITEMS reagents |  |  | (e) | (b) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
10%
|  | Molecular grade water - 10 x 1.7ml, 1 vial per batch |  |  | 1 | 24.3911 | 2.4391 | 26.8302 | kit (10x1,7 ml) | 10 | 2.683 | 3 | kit | 168.46 | 505.38
|  | DNAse-/RNAse-free TIPS, for pipettes 20 - 200 µl |  |  | 6 | 146.3467 | 21.952 | 168.2987 | pack (480) | 480 | 0.35062 | 1 | pack | 91.81 | 91.81
|  | Sterile, DNA-/RNAse-free TIPS 100 - 1000 µl |  |  | 1 | 24.3911 | 3.6587 | 28.0498 | pack (480) | 480 | 0.058437 | 1 | pack | 60.8 | 60.8
|  | Long 1 ml tips with filter |  |  | 10 | 3397.3333 | 509.6 | 3906.9333 | pack (800) | 800 | 4.8837 | 5 | pack | 134.68 | 673.4
|  | Disposable pasteur pipettes, graduated, non sterile, 155 mm |  |  | 5 | 121.9556 | 12.1956 | 134.1511 | pack (500) | 500 | 0.2683 | 1 | pack | 16.68 | 16.68
|  | Forceps plastic |  |  | 2 | 48.7822 | 4.8782 | 53.6604 | pack (100) | 100 | 0.5366 | 1 | pack | 15.46 | 15.46
|  | PP-tubes for centrifuge, non sterile, 15 ml |  |  | 4 | 97.5644 | 9.7564 | 107.3209 | pack (500) | 500 | 0.21464 | 1 | pack | 93.52 | 93.52
|  | PP-tubes for centrifuge non sterile 50 ml |  |  | 3 | 73.1733 | 7.3173 | 80.4907 | pack (500) | 501 | 0.16066 | 1 | pack | 75.35 | 75.35
|  | SUBTOTAL | [12 empty] | 1532.4
|  | ITEMS reagents |  |  | (e) | (c) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
15%
|  | Plastic bags, disposable PP, 100 pieces per pack |  |  | 4 | 800 | 80 | 880 | pack(100) | 100 | 8.8 | 9 | pack | 13.04 | 117.36
|  | Filter paper - sheets |  |  | 8 | 1600 | 240 | 1840 | pack(100) | 100 | 18.4 | 19 | pack | 136.82 | 2599.58
|  | Sodium Hypochloride - 1 Kg - 14% activity |  |  | 0.072 | 14.4 | 2.16 | 16.56 | botle (1 kg) | 1 | 16.56 | 17 | botlle | 23.73 | 403.41
|  | Single-use paper towels |  |  | 40 | 8000 | 1200 | 9200 | pack(4500) | 4500 | 2.0444 | 3 | pack | 17.95 | 53.85
|  | Ethanol / Isopropanol - 1 Liter |  |  | 0.2 | 40 | 6 | 46 | botle (1 litre) | 1 | 46 | 46 | botlle | 11.55 | 531.3
|  | SUBTOTAL | [12 empty] | 3705.5
|  | Summary | [12 empty] | 9505.63
Note on F26: GCDD: 1 cryo-vial are needed for storage purpose
Note on F27: GCDD: 1 tag par vial gor storage
Note on F28: GCDD: 2 tip per tests
Note on J28: GCDD: 10% buffer stock ++ 5% extra to add supernatent to PCR Tubes and n x 5 μl DNA
Note on F30: GCDD: 2 tips to add/discard decontaminated specimen - only for twincubator
Note on F31: GCDD: 2 pipettes per sample to remove Hybridisation and STR
Note on F32: GCDD: 1 pen for 3 kits (288tests)
Note on F38: GCDD: 2 tips per batch for amplification - 1 tip per batch to add DEN - 1 tip per test to add DNA/amplicon - if twincubator 2 tips for SUB/CONJ
Note on J38: + 5% extra
Note on F39: GCDD: 1 tip per batch for mastermix
Note on J39: GCDD: +5% extra
Note on F40: GCDD: 2 tips per batch to add Hybridisation and STR + 8 tips per batch to add RINS (3), WATER (3), SUB(1) CONJ (1)
Note on F41: GCDD: 5 pipettes par batch to remove RINS/WATER/SUB/CONJ
Note on J41: GCDD: + 5% extra
Note on F43: GCDD: 4 tubes per batch (diluting CON and SUB + HYB + STR)
Note on F44: GCDD: 3 tubes per batch
Note on F48: GCDD: 4 per working days
Note on F49: GCDD: 8 per working day
Note on F50: GCDD: 200 ml per day of final solution - 72 gr per liter

## LPA AC_CM
LINE PROBE ASSAY USING HAIN KITS MTBDRplus, V2
|  | № of tests coming from LJ/MGIT Culture for DST with LPA |  | 0
|  | Estimated % of repetitions, 10% |  | 0
|  | Number of extra test per batch for pipetting error, 2% |  | 0
|  | Number of tests for QC (2 per batch) for total nr of tests |  | 0
|  | Total number of tests to be done for the period | (a) | 0
|  | Number of batch per week |  | 2
|  | Number of specimen in one batch |  | 10
|  | № of controls per batch |  | 2
|  | Average size of a batch |  | 12
|  | Number of batch for the period | (b) | 0
|  | LPA Equipment used in the laboratory | TWINCUBATOR
|  | Total number of tests to be done for the period | a= | 0
|  | Number of batches | b= | 0
|  | Number of working days | c= | 200
|  | LPA, I line |  |  | (e) | (a) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
|  | ITEMS reagents |  |  |  |  | 10%
1 | Sputum containers (pieces) | Geno Type MTBDR AC/CM (96 tests/kit), (test) |  |  | 1 | 0 | 0 | 0 | kit (96 tests) | 96 | 0 | 0 | kit | 720 | 0
2 |  | GenoLyse (96 tests), Version 1.0 (51610) (test) |  |  | 1 | 0 | 0 | 0 | kit (96 tests) | 96 | 0 | 0 | kit | 0 | 0
|  | PCR tubes, 0.2 ml with attached caps, sterile, DNAse- RNAse-free, 1000 per pack |  |  | 1 | 0 | 0 | 0 | pack (1000) | 1000 | 0 | 0 | pack | 45.41 | 0
|  | Cryo-vial, sterile with cap, 1.5 ml |  |  | 2 | 0 | 0 | 0 | pack (1000) | 1000 | 0 | 0 | pack | 398.81 | 0
|  | Cryo-vial, sterile with cap, 2 ml (pieces) |  |  | 1 | 0 | 0 | 0 | pack (1000) | 1000 | 0 | 0 | pack | 319.59 | 0
|  | Cryo-tags, sized to fit for use on cryo-tubes, |  |  | 1 | 0 | 0 | 0 | pack (1000) | 1000 | 0 | 0 | pack | 34 | 0
|  | DNAse-/RNAse-free TIPS, for pipettes 0.1 - 10 µl |  |  | 2 | 0 | 0 | 0 | pack (480) | 480 | 0 | 0 | pack | 107.17 | 0
|  | DNAse-/RNAse-free TIPS, for pipettes 20 - 200 µl |  |  | 2 | 0 | 0 | 0 | pack (480) | 480 | 0 | 0 | pack | 91.81 | 0
|  | Long 1 ml tips with filter |  |  | 2 | 0 | 0 | 0 | pack (800) | 800 | 0 | 0 | pack | 134.68 | 0
|  | Disposable pasteur pipettes, graduated, non sterile, 155 mm |  |  | 2 | 0 | 0 | 0 | pack (500) | 500 | 0 | 0 | pack | 16.68 | 0
|  | Marker pen, water resistant |  |  | 0.034 | 0 | 0 | 0 | pack (1) | 1 | 0 | 0 | pack | 1.84 | 0
|  | SUBTOTAL | [12 empty] | 0
|  | ITEMS reagents |  |  | (e) | (b) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
10%
|  | Molecular grade water - 10 x 1.7ml, 1 vial per batch |  |  | 1 | 0 | 0 | 0 | kit (10x1,7 ml) | 10 | 0 | 0 | kit | 168.46 | 0
|  | DNAse-/RNAse-free TIPS, for pipettes 20 - 200 µl |  |  | 6 | 0 | 0 | 0 | pack (480) | 480 | 0 | 0 | pack | 91.81 | 0
|  | Sterile, DNA-/RNAse-free TIPS 100 - 1000 µl |  |  | 1 | 0 | 0 | 0 | pack (480) | 480 | 0 | 0 | pack | 60.8 | 0
|  | Long 1 ml tips with filter |  |  | 10 | 0 | 0 | 0 | pack (800) | 800 | 0 | 0 | pack | 134.68 | 0
|  | Disposable pasteur pipettes, graduated, non sterile, 155 mm |  |  | 5 | 0 | 0 | 0 | pack (500) | 500 | 0 | 0 | pack | 16.68 | 0
|  | Forceps plastic |  |  | 2 | 0 | 0 | 0 | pack (100) | 100 | 0 | 0 | pack | 15.46 | 0
|  | PP-tubes for centrifuge, non sterile, 15 ml |  |  | 4 | 0 | 0 | 0 | pack (500) | 500 | 0 | 0 | pack | 93.52 | 0
|  | PP-tubes for centrifuge non sterile 50 ml |  |  | 3 | 0 | 0 | 0 | pack (500) | 501 | 0 | 0 | pack | 75.35 | 0
|  | SUBTOTAL | [12 empty] | 0
|  | ITEMS reagents |  |  | (e) | (c) x (e) = (f) | (f) x (10) /100 …… = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
15%
|  | Plastic bags, disposable PP, 100 pieces per pack |  |  | 4 | 800 | 80 | 880 | pack(100) | 100 | 8.8 | 9 | pack | 13.04 | 117.36
|  | Filter paper - sheets |  |  | 8 | 1600 | 240 | 1840 | pack(100) | 100 | 18.4 | 19 | pack | 136.82 | 2599.58
|  | Sodium Hypochloride - 1 Kg - 14% activity |  |  | 0.072 | 14.4 | 2.16 | 16.56 | botle (1 kg) | 1 | 16.56 | 17 | botlle | 23.73 | 403.41
|  | Single-use paper towels |  |  | 40 | 8000 | 1200 | 9200 | pack(4500) | 4500 | 2.0444 | 3 | pack | 17.95 | 53.85
|  | Ethanol / Isopropanol - 1 Liter |  |  | 0.2 | 40 | 6 | 46 | botle (1 litre) | 1 | 46 | 46 | botlle | 11.55 | 531.3
|  | SUBTOTAL | [12 empty] | 3705.5
|  | Summary | [12 empty] | 3705.5
Note on F26: GCDD: 1 cryo-vial are needed for storage purpose
Note on F27: GCDD: 1 tag par vial gor storage
Note on F28: GCDD: 2 tip per tests
Note on J28: GCDD: 10% buffer stock ++ 5% extra to add supernatent to PCR Tubes and n x 5 μl DNA
Note on F30: GCDD: 2 tips to add/discard decontaminated specimen - only for twincubator
Note on F31: GCDD: 2 pipettes per sample to remove Hybridisation and STR
Note on F32: GCDD: 1 pen for 3 kits (288tests)
Note on F38: GCDD: 2 tips per batch for amplification - 1 tip per batch to add DEN - 1 tip per test to add DNA/amplicon - if twincubator 2 tips for SUB/CONJ
Note on J38: + 5% extra
Note on F39: GCDD: 1 tip per batch for mastermix
Note on J39: GCDD: +5% extra
Note on F40: GCDD: 2 tips per batch to add Hybridisation and STR + 8 tips per batch to add RINS (3), WATER (3), SUB(1) CONJ (1)
Note on F41: GCDD: 5 pipettes par batch to remove RINS/WATER/SUB/CONJ
Note on J41: GCDD: + 5% extra
Note on F43: GCDD: 4 tubes per batch (diluting CON and SUB + HYB + STR)
Note on F44: GCDD: 3 tubes per batch
Note on F48: GCDD: 4 per working days
Note on F49: GCDD: 8 per working day
Note on F50: GCDD: 200 ml per day of final solution - 72 gr per liter

## Xpert MTB RIF
Xpert MTB/RIF
Xpert MTB/RIF
| Number of Xpert MTB/RIF tests for the period |  | 0
| Expected unsucessful test rate (6%) |  | 0
| Repetition rate, 5% |  | 0
| QC, 1 % |  | 0
| Total nr of tests | (a) | 0
| Total nr of tests | a= | 0
|  |  | Item # needed to perform for one procedure | Item # needed | Stock buffer, 10 % | Quantity to be ordered | Vendor's item amount |  | Orderable Amount | Orderable Amount, rounded | Orderable Unit | Unit cost (US$) | TOTAL cost (US$)
| Xert MTB/RIF |  | (e) | (a) x (e) = (f) | (f) x (10) /100 = (g) | (f) + (g) = (h) | (i) |  | (h) / (i) = (k) | (l) | (m) | (n) | (l) x (n) = (o)
ITEMS
1 | Xpert MTB/RIF cartridges |  | 1 | 0 | 0 | 0 | pack (10) | 10 | 0 | 0 | pack | 99.8 | 0
2 | Single use plastic Pasteur-pipettes sterile individually packed (pieces) |  | 2 | 0 | 0 | 0 | pack (500) | 500 | 0 | 0 | pack | 42.12 | 0
3 | PP-tubes for centrifuge, sterile, 15 ml |  | 1 | 0 | 0 | 0 | pack (500) | 500 | 0 | 0 | pack | 93.52 | 0
| SUBTOTAL | [11 empty] | 0
Note on D18: GCDD: 1 for specimens preparation+1 for cartridge inoculation

## LPA and Tips (hidden)
|  | P10 | P20 | P200 | P1000 | P1000 Long | Pasteur pipette
DNA Extraction
A1 | 500μl decontaminated specimen |  |  |  |  | 1 per sample for adding and one per sample for discard supernatent
A2 | A-LYS - 100μl lysis buffer |  |  | 1 per sample
A4 | Add A-NB - 100μl neutralisation buffer |  |  | 1 per sample
A5 | 5μl Supernatent for PCR tube | 1 per sample
AMPLIFICATION
| Master mix - Reagent A (AM-A) |  |  | 1 per batch
| Mastemix - Reagent AM-B |  |  |  | 1 per batch
| To aliquote into PCR tubes |  |  | 1 per batch
PCR ROOM | n x 5 μl DNA | 1 per sample
HYBRIDISATION
To add | DEN |  |  | 1 per batch
| DNA/amplicon |  |  | 1 per sample
| HYBRIDISATION |  |  |  |  | 1 per sample |  | Not needed for GT Blot 48 ?
| STR |  |  |  |  | 1 per sample
| RINS |  |  |  |  | 3 per batch
| WATER |  |  |  |  | 3 per batch
| SUB (dilution / Fill) |  |  | 1 per batch |  | 1 per batch
| CONJ (Dilution / Fill) |  |  | 1 per batch |  | 1 per batch
to remove | HYBRIDISATION | [5 empty] | 1 per sample
| STR | [5 empty] | 1 per batch
| RINS | [5 empty] | 2 per batch
| WATER | [5 empty] | 1 per batch
| SUB | [5 empty] | 1 per batch
| CONJ | [5 empty] | 1 per batch
| Sample | 2 |  | 3 |  | 4 | 1
| Batch |  |  | 5 | 1 | 8 | 6
Injectible water for LPA DST from specimen coming from liquid culture 0.1 ml / solid culture 0.3 ml

## Lab items list (hidden)
List of laboratories items |  | Back to Lab
Equipment |  | Chemicals |  | Consumables
| Microscopy laboratory | Microscopy laboratory |  | MIcroscopy laboratory
| Culture laboratory | Culture laboratory |  | Culture laboratory
| DST laboratory | DST laboratory |  | DST laboratory
| Molecular tests | Molecular tests |  | Molecular tests
|  | Number | Unit cost (US$) | Possible alternatives
| All prices indicated below are "free on board" (FOB) i.e. do not include shipping, insurance, import duties, local distributor margin for service and support, installation and maintenance. |  |  | This column provides alternatives of equipment. If you wish to include them in your cost please copy the cells into the previous columns (B to D), so that the inputs (quantities and prices) are taken into account in the cost of the lab package.
EQUIPMENT
Ù Home
Culture laboratory
Indicated quantities are based on experience and estimated for a laboratory performing approximately 12,000 cultures. Quantities should be adjusted according to the actual workload and methods used.
| ITEMS (solid media) | Number | Unit cost (US$) | Possible alternatives | Number | Unit cost (US$)
| Base Support for Laminar Air Flow Cabinet | 2 | 1024.725
| BSC, class I or II | 2 | 17761.9
| UPS for BSC | 2 | 1639.56
| Minishaker or Vortex | 3 | 478.205
| Optional : overhead stirrer, for at least 10 tubes (50 ml) | 2 | 1639.56
| Test tube rack 18/8 stainless steel, diameter 16 mm | 5 | 38.2564
| Test tube rack 18/8 stainless steel, diameter 35 mm | 5 | 31.4249
| Safety gas burner with glass chimney, footswitch for temporary ignition | 2 | 573.846 | Electric micro incinerator for loops | 1 | 245.934
| Safety gas tubing with safety clamps on both ends, inner diameter 9mm | 2 | 40.989
| Inoculation loops, Platinum/Iridium wire, closed, 10 µl | 6 | 122.967 | Disposable loops,100 x 10 pieces per pack | 15 | 81.978
| Loop holder | 12 | 9.5641
| Racks for loop holder | 4 | 16.3956
| Stainless steel bucket with lid, capacity 10L | 5 | 150.293
| Discard bottle, stainless steel or thick walled glass with screw cap | 5 | 4.0989
| Funnel, stainless steel 18/8, top diameter 120 mm | 3 | 18.4451
| Safety box, PP, approx 3 L, for all sharps | 25 | 4.2355
| Laboratory chair, disinfectable, 5 wheels, no arm rests | 2 | 245.934
| Incubator | 2 | 9290.84
| Centrifuge | 1 | 8880.95
| Centrifuge rotor | 1 | 1229.67
| Centrifuge rotor buckets | 4 | 409.89
| Aerosol tight lids for rotor buckets | 4 | 136.63
| Reducing adapter for 50 ml centrifuge tubes | 4 | 109.304
| Reducing adapter for 15 ml/12 ml centrifuge tubes | 4 | 109.304
| Autoclave | 2 | 15029.3
| Autoclave control unit for fully automated process control | 2 | 3005.86
| Exhaust air filtration system for autoclave | 1 | 3552.38
| Autoclave control unit for sterilization of liquids, including temperature probe | 1 | 3361.098
| Autoclave recooling system to shorten the time of liquid sterilization | 1 | 3415.75
| Wire baskets or stainless steel buckets for autoclave | 2 | 245.934
| Wire baskets with drip tray for autoclave | 2 | 478.205
| Hot-air oven | 1 | 3825.64
| Optional Ion exchanger cartridge, flow rate approx. 950 L/h | 2 | 1093.04
| Conductivity measuring device for laboratory grade water, digital | 2 | 437.216
| Ion exchanger resin for laboratory grade water, pack of 5x10 L resin | 5 | 81.978
| Water distiller | 1 | 1776.19
| Balloon high-density poyethylene (HDPE) with discharge cock, 30 liters | 1 | 81.978
| Balloon high-density poyethylene (HDPE) with discharge cock, 10 liters | 4 | 54.652
| Stop cock, winding for HDPE balloon | 10 | 4.4405
| Racks for test tubes, PP, autoclavable, 60 positions | 12 | 10.9304 | Racks for 28 ml universal vials, PP, autoclavable, 48 positions | 150 | 10.9304
| Alarm clock / digital timer, 4 digits | 1 | 27.326
| Safety-Pipetting Ball, standard | 10 | 3.4158
| Automated pipetting aid, battery capacity for 8 h work, 200 g weight | 2 | 478.205 | Set of mechanical pipetting aids: up to 0.2 ml; up to 2 ml and up to 10 ml | 2 | 68.315
| Pipette washer | 1 | 170.7875
| Transport boxes for specimens meeting WHO requirements of P650 package | 10 | 20.4945
| Electronic maxima-minima-thermometers, two channels, thin cable with sensor, battery, measuring range -50°C/+60°C | 10 | 27.326
| Electronic maxima-minima-thermometers, two channels, battery, measuring range -10°C/+50°C | 10 | 27.326
| Dispenser for 1000 ml bottle for liquid soap, for wall mounting, 1 per sink | 2 | 68.315
| Dispenser for hand towels, for wall mounting, 1 per sink | 2 | 47.8205
| Goggles, according to EN 166 and EN 170, frame adjustable, integrated side and top protection, total weight <40 g | 5 | 8.1978
| Emergency spill-kit | 1 | 34.1575
| First aid kit | 1 | 327.912
| Anemometer | 1 | 2049.45
| Analytical balance | 1 | 4782.05
| pH meter | 1 | 819.78
| Bunsen burner with fine tuning | 1 | 143.4615
| Tripod stand | 1 | 16.3956
| Water bath, capacity approximately 20 L | 1 | 1502.93
| Magnetic stirrer | 1 | 580.6775
| Magnetic stirring bars, round-shaped, polytetrafluorethylen (PTFE) coated. Set of 10: 1x 15 mm, 2X 20 mm, 2x 25 mm, 1x 30 mm, 2x 40 mm, 2x 50 mm length. | 1 | 68.315
| Sterile filling station of culture media, consisting of 1000 ml Squibb sedimentation funnels or cylindric dropping funnels, with tube for pressure exchange, stopcocks made of glass and Teflon stopper, outlet diameter 4 mm | 3 | 68.315
| Stative for Squibb sedimentation funnels consisting of plate, rod and clamp | 3 | 136.63
| Inspissator for coagulation of egg-based culture media | 1 | 8197.8
| Refrigerator with freezing department | 1 | 819.78
| Refrigerator | 2 | 409.89
| Stainless steel funnel, short wide stem with air drain, diameter 150 mm on top | 5 | 13.663
| Swan neck bottles (PE flask, narrow neck with screw cap and water dispenser) set of one each 250, 500, 1000ml | 5 | 16.3956
| Bowl, plastic, 500 x 350 mm | 5 | 2.7326
| Erlenmeyer flasks, borosilicate 3.3, wide neck, graduated, autoclavable, 2000 ml | 2 | 34.1575
| Erlenmeyer flasks, borosilicate 3.3, wide neck, graduated, autoclavable, 1000 ml | 10 | 163.956
| Erlenmeyer flasks, borosilicate 3.3, wide neck, autoclavable, 500 ml | 10 | 81.978
| Erlenmeyer flasks, borosilicate 3.3, wide neck, graduated, autoclavable, 250 ml | 10 | 61.4835
| Erlenmeyer flasks, borosilicate 3.3, wide neck, graduated, 100 ml, pack. unit 10 | 20 | 54.652
| Erlenmeyer flasks, borosilicate 3.3, wide neck, graduated, autoclavable, 50 ml | 20 | 54.652
| Measuring cylinder, class A; TPX, autoclavable, 1000 ml, graduated 10.0 ml | 5 | 22.2707
| Measuring cylinder, class A; TPX, autoclavable, 500 ml, graduated 5.0 ml | 5 | 14.3462
| Measuring cylinder, class A; TPX, autoclavable, 250 ml, graduated 2.0 ml | 5 | 9.4958
| Measuring cylinder, class A; TPX, autoclavable, 100 ml, graduated 1.0 ml | 5 | 6.1484
| Measuring cylinder, class A; TPX, autoclavable, 50 ml, graduated 1.0 ml | 5 | 4.6454
| Thick-walled glass flask for preparation of culture medium; with flanged rim; 2500 ml | 6 | 58.7509
| Thick walled bottles, borosilicate 3.3, graduated, transparent, PP ring and cap, 2000 ml | 3 | 24.5934
| Thick walled bottles, borosilicate 3.3, graduated, transparent, PP ring and cap, 1000 ml | 10 | 14.3462
| Thick walled bottles, borosilicate 3.3, graduated, transparent, PP ring and cap, 500 ml; | 5 | 9.2908
| Thick walled bottles, borosilicate 3.3, graduated, amber, PP ring and cap, 11000 ml | 3 | 16.3956
| Thick walled bottles, borosilicate 3.3, graduated, amber, PP ring and cap, 1, 2000 ml | 2 | 27.326
| Screw caps with weld in PFTE membrane, 0.2 µm pore size, autoclavable to 140 °C | 10 | 3.0059
| Laboratory beaker, EFTE, low form with graduation and spout, 2000 ml | 3 | 136.63
| Laboratory beaker, EFTE, low form with graduation and spout, 1000 ml | 3 | 68.315
| Laboratory beaker, EFTE, low form with graduation and spout, 600 ml | 10 | 54.652
| Laboratory beaker, EFTE, low form with graduation and spout, 250 ml | 10 | 24.5934
| Laboratory beaker, EFTE, low form with graduation and spout, 100 ml | 10 | 15.0293
| Laboratory glassware drying rack, wall mounted; polystyrene; minimum 24 pegs | 1 | 184.4505
| Funnel, soda lime glass, plain, short stem, d = 75 mm | 5 | 6.8315
| Funnel, soda lime glass, plain, short stem, d = 125 mm | 5 | 10.9304
| Powder funnel , diameter 100mm | 5 | 10.9304
| Glass beads, massive glass, 5 mm diameter | 2 | 34.1575
| Glass beads, massive glass, 3 mm diameter | 1 | 34.1575
| Thick walled Pyrex tubes with ISO winding and autoclavable screw cap with tight gasket, 16x100 mm; package of 100 | 10 | 109.304
| Strainer, stainless steel, 1 grip, 2 eyes, diameter 20 cm | 1 | 21.8608
| Forceps; pointed; straight; 18/8 stainless steel, polished | 5 | 9.3865
| Optional: Laboratory washer-disinfector for laboratory glass, 2 baskets | 1 | 5055.31
| Separate water supply for deionised water with conductivity measure R 3/4" with digital display and hose-set for in-and outflow | 1 | 929.084
| Aqua purificator cabinet for two de-mineralising cartridges | 1 | 409.89
| Cost of equipment for culture laboratories (solid media) |  | 177698.382
Additional equipment for liquid culture and/or DST
| ITEMS | Number | Unit cost (US$) | Possible alternatives | Number | Unit cost (US$) | Notes
| Automated analyser for liquid culture media with growth detection based on a fluorescent signal, 960 vials | 2 | 79655.29 | Automated analyser for liquid culture media with growth detection based on a fluorescent signal, 120 vials | 12 | 36535
| Automated analyser for liquid culture media with growth detection based on a fluorescent signal, 960 vials | 2 | 38950 |  |  |  | This is a FIND negotiated price for, please find the countries that can access to this special price in: http://www.finddiagnostics.org/about/what_we_do/successes/find-negotiated-prices/bactec-mgit.html
| Cost of additional equipment for culture and DST laboratories (liquid media) |  | 118605.29
Drug-susceptibility testing (DST)
Indicated quantities are based on experience and estimated for a laboratory performing 1000 first-line DST (and possibly 100 second-line DST) in addition to cultures. Quantities should be adjusted according to the actual workload and strategy used.
| ITEMS (solid media) | Number | Unit cost (US$)
| Desiccator, borosilicate glass, inner diameter 150-200 mm, lid with thread GL 32 | 2 | 273.26
| Membrane vacuum pump for desiccator, pressure endpoint < 20 mbar | 1 | 1093.04
| Woulff flask consisting of borosilicate glass, 1000 ml with thread GL 45 screw cap | 1 | 47.8205
| Vacuum tube, 3m | 1 | 27.326
| Precision balance | 1 | 1366.3
| Sterile filling station of culture media, consisting of 250 ml Squibb sedimentation funnels or cylindric dropping funnels, with tube for pressure exchange, stopcocks made of glass and Teflon stopper, outlet diameter 4 mm | 7 | 40.989
| Refrigerator with freezing department | 1 | 819.78
| Refrigerator | 1 | 409.89
| Optional: Chest freezer, 70 litres, temperature range: -18 °C to - 28 °C, complete with cassettes and racks | 1 | 1366.3
| Pipettes 1 ml, glass, graduated 0,01 ml, conformity certified, pack of 10 pieces | 3 | 27.326
| Pipettes 2 ml, glass, graduated 0,02 ml, conformity certified, pack of 10 pieces | 3 | 28.6923
| Pipettes 10 ml, glass, graduated 0,05 ml, conformity certified, pack of 10 pieces | 3 | 30.0586
| Pipettes 5 ml, glass, graduated 0,1 ml, conformity certified, pack of 10 pieces | 3 | 31.4249
| Pipette box aluminium with lid, autoclavable, suitable for 35 cm long pipettes | 10 | 136.63
| Cost of equipment for DST (solid media) |  | 7682.7049
Molecular laboratory
Line-Probe Assays
Indicated quantities are based on experience and estimated for a laboratory performing approximately 1000 line-probe assays. Quantities should be adjusted according to the actual workload and strategy used.
| ITEMS | Number | Unit cost (US$) | Possible alternatives | Number | Unit cost (US$)
| PCR-Workstation UV | 1 | 3142.49
| Thermocycler | 1 | 4782.05
| Ultrasonic bath | 1 | 1639.56
| Thermoshaker for hybridization | 1 | 3005.86 | Automate for hybridization, for 48 strips | 1 | 19674.72
| Optional 8-channel pipette, 5 - 50 µl | 1 | 587.509
| Optional 8-channel pipette, 50 - 300 µl | 1 | 587.509
| Optional Electrophoresis, horizontal mini gel system | 1 | 409.89
| Optional Power supply for electrophoresis | 1 | 478.205
| Optional UV-light illuminator at least 200 x 200 mm window | 1 | 1639.56
| Optional Microwave oven, approx. 900 W, inner volume minimum 20 litres | 1 | 819.78
| Racks, for tubes 1.5 - 2 ml, 10 mm diameter, at least 20 positions | 10 | 6.8315
| Centrifuge for standard reaction tubes | 1 | 2459.34
| Floating rack for 20 seats, diameter 10 mm, 2ml, for ultrasonic bath | 2 | 9.5641
| Deep freeze storage box with lid for 2 ml cryovials , autoclavable PP | 10 | 10.9304
| Deep freeze storage box with lid for 0.2ml PCR tubes, autoclavable PP. | 10 | 11.067
| 1-channel pipette, variable from 0.5 - 10 µl, | 3 | 273.26
| 1-channel pipette, variable from 10 - 100 µl | 4 | 273.26
| 1-channel pipette, variable from 100 - 1000 µl, | 4 | 273.26
| Racks suitable for pipettes offered, at least 4 positions | 4 | 109.304
| Refrigerator with freezing department | 1 | 409.89
| Freezer | 1 | 546.52
| Stand for multichannel pipettes | 1 | 122.967
| Hand-dispenser pipette, 5 dosage steps, suited for combitips | 2 | 218.608
| Tripod stand for waste bags of 2 litres | 5 | 10.2473
| Cost of equipment for Molecular tests |  | 24870.0758
Xpert
| ITEMS | Number | Unit cost (US$)
| Cost of one GeneXpert 4-module unit with laptop | 1 | 17500
| Shipment, per machine |  | 1000
| Uninterruptible power source |  | 500
| Printer | 1 | 200
19200
| Cartridge and maintenance for XPERT | Number | Unit cost (US$)
The average number of tests per machine per day is 15. So, the maximum number of cartridges per year is 3750 (=15*250 working days). Add 10% more due to losses because of damage or incorrect use.
| Cartridge, cost per one cartridge |  | 16.86
| Cost of equipment maintenance per GeneXpert machine per year (range US$ 500-1800) |  | 1800
For further information on Xpert please look at:
http://whqlibdoc.who.int/hq/2011/WHO_HTM_TB_2011.12_eng.pdf
CHEMICALS
Culture laboratory, chemicals
According to the SoP, prepare a batch of 1600 ml and adjust according to the workload
| ITEMS | Number | Unit cost (US$) | Possible alternatives | Number | Unit cost (US$)
| Loewenstein-Jensen medium** |  |  | Lowenstein-Jensen medium from components
| Ready-to-use mix, 500g | 7 | 134 | Potassium dihydrogen phosphate, KH2PO4, MW: 136,09, 1 kg | 1 | 44
| Fresh eggs fed without growth factors (antibiotics), 25 per 1600 ml medium final volume | 2000 | local cost | Magnesium sulfate-heptahydrate, MgSO4 • 7H2O, MW: 246,48. 500g | 1 | 21
| Glycerol >99% purity, 1 litre | 2 | 38 | L-Asparagine-momohydrate, C4H8N2O3 • H2O, MW: 150.13, 250g | 2 | 86
|  |  |  | tri-Magnesium di-citrate nonahydrate, Mg3(C6H5O7)2 • 9 H2O, 500g | 1 | 36
| ** Prepare a batch of 1600 ml according to the SoP, to be dispensed in 6–8 ml volumes into sterile McCartney bottles or 16 x 125 mm screw-capped tubes. Estimate the number of tubes per batch (+/-260 tubes). |  |  | Malachite green oxalate, 100 g | 1 | 21
|  |  |  | glycerol >99% purity, 1 litre | 2 | 38
|  |  |  | fresh eggs fed without growth factors (antibiotics), 25 per 1600 ml medium final volume | 2000 | local cost
| ITEMS | Number | Unit cost (US$)
Modified Ogawa medium
| Sodium-L-Glutamate-monohydrate, C5H8NNaO4 · H2O, 1 kg | 1 | 45
| Potassium dihydrogen phosphate, KH2PO4, MW: 136,09, 1 kg | 1 | 44
| Malachite green oxalate, 100 g | 1 | 21
| Magnesium sulfate-heptahydrate, MgSO4 • 7H2O, MW: 246,48. 500g | 1 | 21
| Glycerol >99% purity, 1 litre | 2 | 38
| Fresh eggs fed without growth factors (antibiotics), 25 per 1600 ml medium final volume | 2000 | local cost
Phosphate buffer according to Soerensen, 1/15 M, pH 6.8 or adjustable between pH 5 to 8.2
| ITEMS | Number | Unit cost (US$) | Possible alternatives | Number | Unit cost (US$)
| di-Sodium hydrogen phosphate anhydrous, Na2HPO4, MW: 141.96, 1 kg | 2 | 49 | di-Sodium hydrogen phosphate dodecahydrate Na2HPO4 12 H2O , MW: 358,14, 1 kg | 2 | 48
| Potassium dihydrogen phosphate, KH2PO4, MW: 136,09, 1 kg | 2 | 44
Petroff decontamination method
| ITEMS | Number | Unit cost (US$)
| Sodium hydroxide, NaOH, MW 40.00, purum ≥ 98%, pellets, 1kg | 2 | 16
Tri-sodium phosphate decontamination method
| ITEMS | Number | Unit cost (US$)
| tri-sodium phosphate dodecahydrate, Na3PO4 · 12H2O, MW: 380.12, 2.5 kg | 4 | 48
NALC decontamionation method
| ITEMS | Number | Unit cost (US$)
| N-acetyl-L-cysteine (NALC), C5H9NO3S, MW: 163.19,puriss. ≥ 99%, 250g | 1 | 205
| tri-Sodium citrate dihydrate, C6H5Na3O7 · 2H2O, MW: 294.10, 1 kg | 1 | 56
| Sodium hydroxide, NaOH, MW 40.00, purum ≥ 98%, pellets, 1kg | 1 | 16
Cetylpyridinum chloride for specimen transportation
| ITEMS | Number | Unit cost (US$)
| Cetylpyridinium chloride monohydrate, C21H38ClN · H2O, MW: 358.01, purity ≥ 98% for biochemistry, 500g | 1 | 61
| Sodium chloride, NaCl, MW: 58.44, ≥ 99%, 1kg | 1 | 14
Pre-treatment for urine
| ITEMS | Number | Unit cost (US$)
5-Sulfosalicylic acid dihydrate, C6H7NO3S· 2H2O, MW: 254,22, ≥ 99%, 100g
Neutralization of gastric washings
| ITEMS | Number | Unit cost (US$)
| sodium bicarbonate, NaHCO3, MW 84, ≥ 99%, 500g | 1
Reagents for biochemical identification
| ITEMS | Number | Unit cost (US$)
| Para-nitrobenzoic acid, (PNB), C7H5O4, MW: 167,12, purum ≥ 98%, 250g | 1 | 15
| Thiophene-2-carboxylic acid hydrazide, (TCH), C5H6ON2S, MW: 142.21, ≥ 97%; 5g | 2 | 107
| Niacin strips, 50 per pack | 1000 | 102
| Tween® 80, (Polyoxyethlene-80-sorbitan monooleate), 1kg | 1 | 52
| Hydrogen peroxide, H2O2, MW: 34.01, 30%, 250 ml | 1 | 19
| Potassium dihydrogen phosphate, KH2PO4, MW: 136,09, 1 kg | 1 | 44
| di-Sodium hydrogen phosphate anhydrous, Na2HPO4, MW: 141.96, 1 kg | 1 | 49
| Sodium nitrate, NaNO3, MW:84.99, p.a. ≥ 99.5%, 500g | 1 | 23
| Sulphanilamide, C6H8N2O2S, MW: 172.21, p.a. ≥ 98%,100g | 1 | 55
| N-(1-Naphthyl)-ethylendiamine dihydrochloride, C12H14N2 · 2HCl, MW: 259.18, p.a.≥ 98%, 25g | 1 | 82
| Zinc dust, 250g bottle | 1 | 53
| Hydrochloric acid, HCl, purum, ≥ 35%, 1 L | 1 | 27
reagent for long-term storage of mycobacterial culture:
| ITEMS | Number | Unit cost (US$)
| Skim milk powder, 500g | 1 | 29
McFarland standard
| ITEMS | Number | Unit cost (US$)
| Bariumchlorid dihydrate, BaCl2 · 2H2O, MW: 244.26, p.a.≥ 99%, 250 g | 1 | 15
| Sulphuric acid, 100 ml | 1 | 27
DST laboratory, chemicals
Indicated quantities are based on experience and estimated for a laboratory performing approximately 1,000 FL-DST (and possibly 100 SL-DST). Quantities should be adjusted according to the workload and methods used.
First line drugs
| ITEMS | Number | Unit cost (US$) | Possible alternatives | Number | Unit cost (US$)
| 5g Isoniazid | 1 | 23
| 1g Rifampicin | 1 | 82
| 25 g Ethambutol | 1 | 96
| 5g Dihydro-streptomycin | 1 | 25
Second Line Drugs
| Ofloxacin/Ciprofloxacin, 2 g | 1 | 30 | Moxifloxacin, 2 g | 1
| Protionamid, 2 g | 1 |  | Ethionamid, 2 g | 1
| Kanamycin, 2 g | 1 | 42 | Amikacin, 2 g | 1 | 61
| capreomycin, 2 g | 1 | 158
| Dimethyl sulfoxide, 99,8%, p. a., 500 ml | 1 | 27
Molecular tests, chemicals
Indicated quantities are based on experience and estimated for a laboratory performing approximately 1,000 line-probe assays. Quantities should be adjusted according to the workload and methods used.
| ITEMS | Number | Unit cost (US$)
| Taq Polymerase, 250 units/vial; one vial per 200 amplifications | 5 | 178
CONSUMABLES
Culture laboratory, consumables
Indicated quantities are based on experience and estimated for a laboratory performing approximately 12,000 cultures. Quantities should be adjusted to the actual workload and methods used.
| ITEMS (solid media) | Number | Unit cost (US$) | Possible alternatives | Number | Unit cost (US$)
| Culture tubes, diameter 16 mm, pack of 100 | 260 | 40.989 | Universal glass bottle 28 ml, pack of 100 | 260 | 102.4725
| PP-tubes for centrifuge, 50 ml; 500 pieces/pack | 60 | 163.956
| PP-tubes for centrifuge, 15 ml; 500 pieces/pack | 4 | 163.956
| Loop, disposable 10 m, 10pieces/pack | 1500 | 81.978
| Plastic Pasteur pipettes, 1.5 ml, 500 pieces/pack | 30 | 54.652
| Cryo-vial, sterile with cap, 2 ml | 1 | 199.4798
| Deep freeze storage box with lid for 2 ml cryovials , autoclavable PP | 10 | 10.9304
| Gloves, vinyl or nitrile, powder free, disposable, size S, 100/pack | 60 | 16.3956
| Gloves, vinyl or nitrile, powder free, disposable, size M, 100/pack | 90 | 16.3956
| Gloves, vinyl or nitrile, powder free, disposable, size L, 100/pack | 30 | 16.3956
| Plastic bags for waste bins, 1000 pieces per pack | 1 | 30.0586
| Stands for small plastic bags (2 litres) | 5 | 10.9304
| Autoclavable bags at 134°C, 410 x 620 mm, 100 pieces per pack | 10 | 54.652
| Filter paper round, diameter 185, packs of 100 | 3 | 10.9304
| Filter paper round, diameter 150, packs of 100 | 6 | 9.5641
| Marker pen, water resistant | 3 | 6.8315
| Adhesive labels, pack of 4800 labels | 2 | 62.8498
| Cryo-tags sized to fit for use on cryo-tubes, rolls of 1000 | 5 | 57.3846
| Sterilindicator tape (rolls), 55 m long, for hot air sterilizer (green/brown) | 5 | 30.0586
| Sterilindicator tape (rolls), 55 m long, for autoclave (beige/dark brown) | 5 | 17.7619
| Aluminium foil, 100 m long | 3 | 157.1245
| Parafilm, 100 mm width with dispenser | 3 | 31.4249
| Plastic-foil rolls, 30 cm | 5 | 10.9304
| Tube brush 280 mm long | 20 | 2.7326
| Brush for glassware 120 mm long | 10 | 6.8315
| Laboratory coat, size L | 10 | 47.8205
| Laboratory coat, size M | 20 | 47.8205
| Laboratory coat, size S | 10 | 47.8205
| FFP2 or FFP3 respirators, individually packed, packs of 10 | 1 | 102.4725
| Disinfectant for floors, container 10 litres | 6 | 72.4139
| Disinfectant, ethanol-based, container 5 litres | 8 | 64.2161
| Spray hand for bottle with disinfectant of 1 litre | 6 | 6.8315
| Liquid soap, pH neutral, bottle of 1 litre | 12 | 9.5641
| Disinfectant for hands, alcohol-based, 1 litre bottle | 15 | 10.9304
| Paper towels, single-use, box. 150 towels/pack, 30 packs/ carton | 5 | 58.7509
| Cotton wool, 1 kg | 10 | 2.7326
| Tissue pulp, absorbent sheets, approx. 550 x 350 mm | 30 | 6.8315
| Detergent/washing powder for laboratory dish washer, 10 kg/pack | 36 | 81.978
| Salt for dish washer, 10 kg/pack | 10 | 20.4945
| Rinse aid for dish washer, 1 litre | 10 | 16.3956
| Cost of consumables for culture laboratory (estimate of 12,000 cultures) (solid media) |  | 158283.1224
Additional consumables for liquid culture methodology
| ITEMS (liquid media) | Number | Unit cost (US$) | Possible alternatives | Number | Unit cost (US$) | Notes
| Tube and growth supplement for liquid cultures, growth detection based on fluorescence signal, per test | 12000 | 13.663 | Tube and growth supplement for liquid cultures, growth detection based on pH colour change, per test | 12000 | 12.2967
| Tube and growth supplement for liquid cultures, growth detection based on fluorescence signal, per test | 12000 | 2.76 |  |  |  | This is a FIND negotiated price for the HBCs (except Brazil and Russian Federation) plus Azerbaidjan, Bostwana, Cote d'Ivoire, Djibouti, Georgia, Kyrgyzstan, Lesotho, Malawi, Namibia, Nepal, Moldova, Rwanda, Sierra Leone, Somalia, Swaziland, Taijikistan,
| Petri-dishes, disposables, sterile; 20 per bag, 15 bags per package | 10 | 109.304
| Droppers, disposable, 1.5 ml, 20 per bag and 25 bags per package | 30 | 81.978
| Cost of consumables for culture laboratory (estimate of 12,000 cultures) (liquid media) |  | 200628.38
DST laboratory, consumables
Indicated quantities are based on experience and estimated for a laboratory performing 1,000 FL-DST (and possibly 100 SL-DST) in addition to cultures. Quantities should be adjusted to the actual workload and methods used.
| ITEMS (solid media) | Number | Unit cost (US$) | Possible alternatives | Number | Unit cost (US$) | Notes
| Syringes, single use, 20 ml, 100 pieces per pack | 1 | 88.8095
| Syringe filters, 100 pieces per pack | 1 | 409.89
| Silica gel for desiccator, 0.5 kg | 1 | 40.989
| Immunochromatographic tests for the rapid identification of Mycobacterium tuberculosis, per test | 1000 | 29
| Immunochromatographic tests for the rapid identification of Mycobacterium tuberculosis, per test | 1000 | 1.6 |  |  |  | FIND negotiated price for the 22 HBC
| Cost of consumables for FL-DST laboratory (1000 FL, plus possibly 100 SL), solid media |  | 31139.6885
Additional consumables for liquid DST methodology
| ITEMS | Number | Unit cost (US$) | Possible alternatives | Number | Unit cost (US$) | Notes
| Tube and growth supplement for liquid cultures, growth detection based on fluorescence signal, per test | 6000 | 13.663 | Tube and growth supplement for liquid cultures, growth detection based on pH colour change, per test | 6000 | 12.2967
| Tube and growth supplement for liquid cultures, growth detection based on fluorescence signal, per test | 6000 | 2.76 |  |  |  | This is a FIND negotiated price for, please find the countries that can access to this special price in: http://www.finddiagnostics.org/about/what_we_do/successes/find-negotiated-prices/bactec-mgit.html
| Cost of consumables for FL-DST laboratory (1000 FL, plus possibly 100 SL), liquid media |  | 98538
Molecular Biology, consumables
Indicated quantities are based on experience and estimated for a laboratory performing approximately 1,000 line-probe assays. Quantities should be adjusted according to the workload and strategy used.
| ITEMS | Number | Unit cost (US$) | Possible alternatives | Number | Unit cost (US$) | Notes
| Standard reaction tubes with O-ring, 1.5 ml, 1000 per pack | 10 | 177.619
| Standard reaction tubes with O-ring, 2 ml, 1000 per pack | 10 | 177.619
| Cryo-vial, sterile with cap, 2 ml, with outer winding; pack of 1000 | 3 | 245.934
| Cryo-tags, sized to fit for use on cryo-tubes, rolls of 1000 | 3 | 57.3846
| PCR tubes, 0.2 ml with attached caps, sterile, DNAse- RNAse-free, 1000 per pack | 10 | 116.1355
| DNAse-/RNAse-free TIPS, for pipettes 0.1 - 10 µl, 10 boxes at 96 per pack | 10 | 88.8095
| DNAse-/RNAse-free TIPS, for pipettes 1 - 20 µl, 10 boxes at 96 per pack | 40 | 88.8095
| DNAse-/RNAse-free TIPS, for pipettes 10 - 100 µl, 10 boxes at 96 per pack | 20 | 88.8095
| DNAse-/RNAse-free TIPS, for pipettes 20 - 200 µl, 10 boxes at 96 per pack | 10 | 81.978
| TIPS, PE, for pipettes 0.5 - 10 µl, 1000 per pack | 10 | 19.1282
| TIPS, PE, for pipettes 1 - 200 µl, 1000 per pack | 5 | 21.8608
| TIPS, PE, for pipettes 100 - 1000 µl , 1000 per pack | 5 | 19.1282
| Pasteur-pipettes, plastic, sterile, 1.5ml, 500 per pack | 30 | 54.652
| Combitips for Multipette 5 ml, 100 pieces/pack | 3 | 109.304
| Combitips for Multipette 10 ml, 100 pieces/pack | 3 | 109.304
| Plastic bags, disposable PP, 100 pieces per pack | 5 | 13.663
| Gloves, vinyl, powder free, disposable, size S, 100 per pack | 60 | 16.3956
| Gloves, vinyl, powder free, disposable, size M, 100 per pack | 90 | 16.3956
| Gloves, vinyl, powder free, disposable, size L, 100 per pack | 30 | 16.3956
| Forceps plastic | 3 | 15.0293
| Bottles, plastic | 3 | 30.0586
| Marker pen, water resistant | 3 | 6.8315
| Gloves, nitril, powder free, disposable, size 6-7, 100 per pack | 10 | 19.1282
| Gloves, nitril, powder free, disposable, size 7-8, 100 per pack | 5 | 20.4945
| Gloves, nitril, powder free, disposable, size 8-9, 100 per pack | 2 | 21.8608
| Strips for the rapid detection of resistance to isoniazid and rifampicin, per strip | 1000 | 24.5934 | Strips for the rapid detection of resistance to rifampicin, per strip | 1000 | 62.8498
| Strips for the rapid detection of resistance to isoniazid and rifampicin, per strip | 1000 | 3.5 |  |  |  | This is a FIND negotiated price for, please find the countries that can access to this special price in: http://www.finddiagnostics.org/about/what_we_do/successes/find-negotiated-prices/bactec-mgit.html
| Cost of consumables for molecular tests (1000 LPAs) |  | 46957.9041
Back to Menu
Note on B21: precise specifications available upon request
Note on B22: precise specifications available upon request
Note on B23: precise specifications available upon request
Note on B27: precise specifications available upon request
Note on E27: precise specifications available upon request
Note on B37: precise specifications available upon request
Note on B38: precise specifications available upon request
Note on B44: precise specifications available upon request
Note on B51: precise specifications available upon request
Note on B52: Optional: in case of hard water
Note on B55: precise specifications available upon request
Note on B64: according to the WHO document WHO/CDS/EPR/2007.2 Guidance on regulations for the transport of infectious substances avaialble at http://www.who.int/csr/resources/publications/biosafety/WHO_CDS_EPR_2007_2cc.pdf
Note on B70: precise specifications available upon request
Note on B72: precise specifications available upon request
Note on B73: precise specifications available upon request
Note on B74: precise specifications available upon request
Note on B78: precise specifications available upon request
Note on B82: precise specifications available upon request
Note on B83: precise specifications available upon request
Note on D128: FIND negotiated prices for the HBCs (except Brazil and Russian Federation) plus Azerbaidjan, Bostwana, Cote d'Ivoire, Djibouti, Georgia, Kyrgyzstan, Lesotho, Malawi, Namibia, Nepal, Moldova, Rwanda, Sierra Leone, Somalia, Swaziland, Taijikistan, Timor-Leste, Uzbekistan, Zambia
Note on B140: precise specifications available upon request
Note on B142: precise specifications available upon request
Note on B144: optional for NRLs
Note on B158: precise specifications available upon request
Note on B159: precise specifications available upon request
Note on B160: precise specifications available upon request
Note on B161: precise specifications available upon request
Note on B162: optional, needed if no automate for hybridization available
Note on B163: optional, needed if no automate for hybridization available
Note on B164: optional, advisable for NRLs, precise specifications available upon request
Note on B165: optional, advisable for NRLs, precise specifications available upon request
Note on B166: optional, advisable for NRLs
Note on B167: optional, advisable for NRLs
Note on B169: precise specifications available upon request
Note on B173: precise specifications available upon request
Note on B174: precise specifications available upon request
Note on B175: precise specifications available upon request
Note on B177: precise specifications available upon request
Note on B178: precise specifications available upon request
Note on B320: precise specifications available upon request
Note on B324: If control strains are kept deep frozen or a strain bank is to be established
Note on B347: precise specifications available upon request
Note on D364: FIND negotiated prices for the HBCs (except Brazil and Russian Federation) plus Azerbaidjan, Bostwana, Cote d'Ivoire, Djibouti, Georgia, Kyrgyzstan, Lesotho, Malawi, Namibia, Nepal, Moldova, Rwanda, Sierra Leone, Somalia, Swaziland, Taijikistan, Timor-Leste, Uzbekistan, Zambia
Note on D378: FIND negotiated price for the 22 HBC
Note on D384: FIND negotiated prices for the HBCs (except Brazil and Russian Federation) plus Azerbaidjan, Bostwana, Cote d'Ivoire, Djibouti, Georgia, Kyrgyzstan, Lesotho, Malawi, Namibia, Nepal, Moldova, Rwanda, Sierra Leone, Somalia, Swaziland, Taijikistan, Timor-Leste, Uzbekistan, Zambia
Note on B394: precise specifications available upon request
Note on B395: precise specifications available upon request
Note on B397: If not available for strain collection
Note on B410: If not previously ordered in the culture lab
Note on B411: If not previously ordered in the culture lab
Note on B412: If not previously ordered in the culture lab
Note on D420: FIND negotiated prices for Azerbaidjan, Belarus, Bosnia Herzegovina, Brazil, Bulgaria, China, Columbia, Czech Republic, Egypt, Ethiopia, Gambia, Georgia, Haiti, India, Indonesia, Kazakhstan, Kenya,Laos, Lesotho, Malaysia, Mexico, Morocco, Nepal, Nigeria,Pakistan, Philippines, Republic of Korea, Romania, Russian Federation, Singapore, South Africa, Tanzania, Thailand, Trinidad and Tobago, Turkey, Uganda, Uzbekistan, Vietnam, Zambia.